## Hmi Tags
Name | Path | Connection | PLC tag | DataType | Length | Coding | Access Method | Address | Indirect addressing | Index tag | Start value | ID tag | Display name [de-DE] | Comment [de-DE] | Acquisition mode | Acquisition cycle | Limit Upper 2 Type | Limit Upper 2 | Limit Upper 1 Type | Limit Upper 1 | Limit Lower 1 Type | Limit Lower 1 | Limit Lower 2 Type | Limit Lower 2 | Linear scaling | End value PLC | Start value PLC | End value HMI | Start value HMI | Gmp relevant | Confirmation Type | Mandatory Commenting
AZO_motor_1O1I_O5_0_Hand | I/O\Hand | Steuerung_1 | <No Value> | Bool | 2 | Binary | Absolute access | %DB1501.DBX2.6 | FALSE | <No Value> | <No Value> | 0 | <No Value> | <No Value> | Cyclic in operation | 1 s | None | <No Value> | None | <No Value> | FALSE | [7 empty] | 0 | TRUE | None | FALSE
AZO_motor_1O1I_O5_1_Hand | I/O\Hand | Steuerung_1 | <No Value> | Bool | 2 | Binary | Absolute access | %DB1502.DBX52.6 | FALSE | <No Value> | <No Value> | 0 | <No Value> | <No Value> | Cyclic in operation | 1 s | None | <No Value> | None | <No Value> | FALSE | [7 empty] | 0 | TRUE | None | FALSE
AZO_motor_1O1I_O5_2_Hand | I/O\Hand | Steuerung_1 | <No Value> | Bool | 2 | Binary | Absolute access | %DB1503.DBX102.6 | FALSE | <No Value> | <No Value> | 0 | <No Value> | <No Value> | Cyclic in operation | 1 s | None | <No Value> | None | <No Value> | FALSE | [7 empty] | 0 | TRUE | None | FALSE
AZO_motor_1O1I_O5_3_Hand | I/O\Hand | Steuerung_1 | <No Value> | Bool | 2 | Binary | Absolute access | %DB1504.DBX152.6 | FALSE | <No Value> | <No Value> | 0 | <No Value> | <No Value> | Cyclic in operation | 1 s | None | <No Value> | None | <No Value> | FALSE | [7 empty] | 0 | TRUE | None | FALSE
AZO_motor_1O1I_O5_4_Hand | I/O\Hand | Steuerung_1 | <No Value> | Bool | 2 | Binary | Absolute access | %DB1505.DBX202.6 | FALSE | <No Value> | <No Value> | 0 | <No Value> | <No Value> | Cyclic in operation | 1 s | None | <No Value> | None | <No Value> | FALSE | [7 empty] | 0 | TRUE | None | FALSE
AZO_motor_1O1I_O5_5_Hand | I/O\Hand | Steuerung_1 | <No Value> | Bool | 2 | Binary | Absolute access | %DB1503.DBX252.6 | FALSE | <No Value> | <No Value> | 0 | <No Value> | <No Value> | Cyclic in operation | 1 s | None | <No Value> | None | <No Value> | FALSE | [7 empty] | 0 | TRUE | None | FALSE
AZO_motor_1O1I_O5_6_Hand | I/O\Hand | Steuerung_1 | <No Value> | Bool | 2 | Binary | Absolute access | %DB1520.DBX302.6 | FALSE | <No Value> | <No Value> | 0 | <No Value> | <No Value> | Cyclic in operation | 1 s | None | <No Value> | None | <No Value> | FALSE | [7 empty] | 0 | TRUE | None | FALSE
AZO_motor_1O1I_O5_7_Hand | I/O\Hand | Steuerung_1 | <No Value> | Bool | 2 | Binary | Absolute access | %DB1506.DBX352.6 | FALSE | <No Value> | <No Value> | 0 | <No Value> | <No Value> | Cyclic in operation | 1 s | None | <No Value> | None | <No Value> | FALSE | [7 empty] | 0 | TRUE | None | FALSE
AZO_motor_1O1I_O900_0_Hand | I/O\Hand | Steuerung_1 | <No Value> | Bool | 2 | Binary | Absolute access | %DB1001.DBX402.6 | FALSE | <No Value> | <No Value> | 0 | <No Value> | <No Value> | Cyclic in operation | 1 s | None | <No Value> | None | <No Value> | FALSE | [7 empty] | 0 | TRUE | None | FALSE
AZO_motor_1O1I_O900_1_Hand | I/O\Hand | Steuerung_1 | <No Value> | Bool | 2 | Binary | Absolute access | %DB1002.DBX452.6 | FALSE | <No Value> | <No Value> | 0 | <No Value> | <No Value> | Cyclic in operation | 1 s | None | <No Value> | None | <No Value> | FALSE | [7 empty] | 0 | TRUE | None | FALSE
AZO_motor_1O1I_O900_2_Hand | I/O\Hand | Steuerung_1 | <No Value> | Bool | 2 | Binary | Absolute access | %DB1003.DBX502.6 | FALSE | <No Value> | <No Value> | 0 | <No Value> | <No Value> | Cyclic in operation | 1 s | None | <No Value> | None | <No Value> | FALSE | [7 empty] | 0 | TRUE | None | FALSE
AZO_motor_1O1I_O900_3_Hand | I/O\Hand | Steuerung_1 | <No Value> | Bool | 2 | Binary | Absolute access | %DB1011.DBX552.6 | FALSE | <No Value> | <No Value> | 0 | <No Value> | <No Value> | Cyclic in operation | 1 s | None | <No Value> | None | <No Value> | FALSE | [7 empty] | 0 | TRUE | None | FALSE
AZO_motor_1O1I_O900_4_Hand | I/O\Hand | Steuerung_1 | <No Value> | Bool | 2 | Binary | Absolute access | %DB1051.DBX602.6 | FALSE | <No Value> | <No Value> | 0 | <No Value> | <No Value> | Cyclic in operation | 1 s | None | <No Value> | None | <No Value> | FALSE | [7 empty] | 0 | TRUE | None | FALSE
AZO_motor_1O1I_O900_5_Hand | I/O\Hand | Steuerung_1 | <No Value> | Bool | 2 | Binary | Absolute access | %DB1052.DBX652.6 | FALSE | <No Value> | <No Value> | 0 | <No Value> | <No Value> | Cyclic in operation | 1 s | None | <No Value> | None | <No Value> | FALSE | [7 empty] | 0 | TRUE | None | FALSE
AZO_motor_1O1I_O900_6_Hand | I/O\Hand | Steuerung_1 | <No Value> | Bool | 2 | Binary | Absolute access | %DB1053.DBX702.6 | FALSE | <No Value> | <No Value> | 0 | <No Value> | <No Value> | Cyclic in operation | 1 s | None | <No Value> | None | <No Value> | FALSE | [7 empty] | 0 | TRUE | None | FALSE
AZO_motor_1O1I_O900_7_Hand | I/O\Hand | Steuerung_1 | <No Value> | Bool | 2 | Binary | Absolute access | %DB1054.DBX752.6 | FALSE | <No Value> | <No Value> | 0 | <No Value> | <No Value> | Cyclic in operation | 1 s | None | <No Value> | None | <No Value> | FALSE | [7 empty] | 0 | TRUE | None | FALSE
AZO_motor_1O1I_O901_0_Hand | I/O\Hand | Steuerung_1 | <No Value> | Bool | 2 | Binary | Absolute access | %DB1055.DBX802.6 | FALSE | <No Value> | <No Value> | 0 | <No Value> | <No Value> | Cyclic in operation | 1 s | None | <No Value> | None | <No Value> | FALSE | [7 empty] | 0 | TRUE | None | FALSE
AZO_motor_1O1I_O901_1_Hand | I/O\Hand | Steuerung_1 | <No Value> | Bool | 2 | Binary | Absolute access | %DB1056.DBX852.6 | FALSE | <No Value> | <No Value> | 0 | <No Value> | <No Value> | Cyclic in operation | 1 s | None | <No Value> | None | <No Value> | FALSE | [7 empty] | 0 | TRUE | None | FALSE
AZO_motor_1O1I_O901_2_Hand | I/O\Hand | Steuerung_1 | <No Value> | Bool | 2 | Binary | Absolute access | %DB1501.DBX902.6 | FALSE | <No Value> | <No Value> | 0 | <No Value> | <No Value> | Cyclic in operation | 1 s | None | <No Value> | None | <No Value> | FALSE | [7 empty] | 0 | TRUE | None | FALSE
AZO_motor_1O1I_O901_3_Hand | I/O\Hand | Steuerung_1 | <No Value> | Bool | 2 | Binary | Absolute access | %DB1502.DBX952.6 | FALSE | <No Value> | <No Value> | 0 | <No Value> | <No Value> | Cyclic in operation | 1 s | None | <No Value> | None | <No Value> | FALSE | [7 empty] | 0 | TRUE | None | FALSE
AZO_motor_1O1I_O901_4_Hand | I/O\Hand | Steuerung_1 | <No Value> | Bool | 2 | Binary | Absolute access | %DB1503.DBX1002.6 | FALSE | <No Value> | <No Value> | 0 | <No Value> | <No Value> | Cyclic in operation | 1 s | None | <No Value> | None | <No Value> | FALSE | [7 empty] | 0 | TRUE | None | FALSE
AZO_motor_1O1I_O901_5_Hand | I/O\Hand | Steuerung_1 | <No Value> | Bool | 2 | Binary | Absolute access | %DB1504.DBX1052.6 | FALSE | <No Value> | <No Value> | 0 | <No Value> | <No Value> | Cyclic in operation | 1 s | None | <No Value> | None | <No Value> | FALSE | [7 empty] | 0 | TRUE | None | FALSE
AZO_motor_1O1I_O901_6_Hand | I/O\Hand | Steuerung_1 | <No Value> | Bool | 2 | Binary | Absolute access | %DB1505.DBX1102.6 | FALSE | <No Value> | <No Value> | 0 | <No Value> | <No Value> | Cyclic in operation | 1 s | None | <No Value> | None | <No Value> | FALSE | [7 empty] | 0 | TRUE | None | FALSE
AZO_motor_1O1I_O901_7_Hand | I/O\Hand | Steuerung_1 | <No Value> | Bool | 2 | Binary | Absolute access | %DB1503.DBX1152.6 | FALSE | <No Value> | <No Value> | 0 | <No Value> | <No Value> | Cyclic in operation | 1 s | None | <No Value> | None | <No Value> | FALSE | [7 empty] | 0 | TRUE | None | FALSE
AZO_motor_1O1I_O902_0_Hand | I/O\Hand | Steuerung_1 | <No Value> | Bool | 2 | Binary | Absolute access | %DB1520.DBX1202.6 | FALSE | <No Value> | <No Value> | 0 | <No Value> | <No Value> | Cyclic in operation | 1 s | None | <No Value> | None | <No Value> | FALSE | [7 empty] | 0 | TRUE | None | FALSE
AZO_motor_1O1I_O902_1_Hand | I/O\Hand | Steuerung_1 | <No Value> | Bool | 2 | Binary | Absolute access | %DB1506.DBX1252.6 | FALSE | <No Value> | <No Value> | 0 | <No Value> | <No Value> | Cyclic in operation | 1 s | None | <No Value> | None | <No Value> | FALSE | [7 empty] | 0 | TRUE | None | FALSE
AZO_motor_1O1I_O20_0_Hand | I/O\Hand | Steuerung_1 | <No Value> | Bool | 2 | Binary | Absolute access | %DB1021.DBX1302.6 | FALSE | <No Value> | <No Value> | 0 | <No Value> | <No Value> | Cyclic in operation | 1 s | None | <No Value> | None | <No Value> | FALSE | [7 empty] | 0 | TRUE | None | FALSE
AZO_motor_1O1I_O20_1_Hand | I/O\Hand | Steuerung_1 | <No Value> | Bool | 2 | Binary | Absolute access | %DB1022.DBX1352.6 | FALSE | <No Value> | <No Value> | 0 | <No Value> | <No Value> | Cyclic in operation | 1 s | None | <No Value> | None | <No Value> | FALSE | [7 empty] | 0 | TRUE | None | FALSE
AZO_motor_1O1I_O20_2_Hand | I/O\Hand | Steuerung_1 | <No Value> | Bool | 2 | Binary | Absolute access | %DB1023.DBX1402.6 | FALSE | <No Value> | <No Value> | 0 | <No Value> | <No Value> | Cyclic in operation | 1 s | None | <No Value> | None | <No Value> | FALSE | [7 empty] | 0 | TRUE | None | FALSE
AZO_motor_1O1I_O20_3_Hand | I/O\Hand | Steuerung_1 | <No Value> | Bool | 2 | Binary | Absolute access | %DB1011.DBX1452.6 | FALSE | <No Value> | <No Value> | 0 | <No Value> | <No Value> | Cyclic in operation | 1 s | None | <No Value> | None | <No Value> | FALSE | [7 empty] | 0 | TRUE | None | FALSE
AZO_valve_1OxI_O25_0_Hand | I/O\Hand | Steuerung_1 | <No Value> | Bool | 2 | Binary | Absolute access | %DB1021.DBX2.6 | FALSE | <No Value> | <No Value> | 0 | <No Value> | <No Value> | Cyclic in operation | 1 s | None | <No Value> | None | <No Value> | FALSE | [7 empty] | 0 | TRUE | None | FALSE
AZO_valve_1OxI_O25_1_Hand | I/O\Hand | Steuerung_1 | <No Value> | Bool | 2 | Binary | Absolute access | %DB1022.DBX52.6 | FALSE | <No Value> | <No Value> | 0 | <No Value> | <No Value> | Cyclic in operation | 1 s | None | <No Value> | None | <No Value> | FALSE | [7 empty] | 0 | TRUE | None | FALSE
AZO_valve_1OxI_O25_2_Hand | I/O\Hand | Steuerung_1 | <No Value> | Bool | 2 | Binary | Absolute access | %DB1023.DBX102.6 | FALSE | <No Value> | <No Value> | 0 | <No Value> | <No Value> | Cyclic in operation | 1 s | None | <No Value> | None | <No Value> | FALSE | [7 empty] | 0 | TRUE | None | FALSE
AZO_valve_1OxI_O30_6_Hand | I/O\Hand | Steuerung_1 | <No Value> | Bool | 2 | Binary | Absolute access | %DB1001.DBX152.6 | FALSE | <No Value> | <No Value> | 0 | <No Value> | <No Value> | Cyclic in operation | 1 s | None | <No Value> | None | <No Value> | FALSE | [7 empty] | 0 | TRUE | None | FALSE
AZO_valve_1OxI_O31_0_Hand | I/O\Hand | Steuerung_1 | <No Value> | Bool | 2 | Binary | Absolute access | %DB1001.DBX202.6 | FALSE | <No Value> | <No Value> | 0 | <No Value> | <No Value> | Cyclic in operation | 1 s | None | <No Value> | None | <No Value> | FALSE | [7 empty] | 0 | TRUE | None | FALSE
AZO_valve_1OxI_O31_2_Hand | I/O\Hand | Steuerung_1 | <No Value> | Bool | 2 | Binary | Absolute access | %DB1021.DBX252.6 | FALSE | <No Value> | <No Value> | 0 | <No Value> | <No Value> | Cyclic in operation | 1 s | None | <No Value> | None | <No Value> | FALSE | [7 empty] | 0 | TRUE | None | FALSE
AZO_valve_1OxI_O31_3_Hand | I/O\Hand | Steuerung_1 | <No Value> | Bool | 2 | Binary | Absolute access | %DB1021.DBX302.6 | FALSE | <No Value> | <No Value> | 0 | <No Value> | <No Value> | Cyclic in operation | 1 s | None | <No Value> | None | <No Value> | FALSE | [7 empty] | 0 | TRUE | None | FALSE
AZO_valve_1OxI_O31_4_Hand | I/O\Hand | Steuerung_1 | <No Value> | Bool | 2 | Binary | Absolute access | %DB1021.DBX352.6 | FALSE | <No Value> | <No Value> | 0 | <No Value> | <No Value> | Cyclic in operation | 1 s | None | <No Value> | None | <No Value> | FALSE | [7 empty] | 0 | TRUE | None | FALSE
AZO_valve_1OxI_O31_5_Hand | I/O\Hand | Steuerung_1 | <No Value> | Bool | 2 | Binary | Absolute access | %DB1001.DBX402.6 | FALSE | <No Value> | <No Value> | 0 | <No Value> | <No Value> | Cyclic in operation | 1 s | None | <No Value> | None | <No Value> | FALSE | [7 empty] | 0 | TRUE | None | FALSE
AZO_valve_1OxI_O40_6_Hand | I/O\Hand | Steuerung_1 | <No Value> | Bool | 2 | Binary | Absolute access | %DB1002.DBX452.6 | FALSE | <No Value> | <No Value> | 0 | <No Value> | <No Value> | Cyclic in operation | 1 s | None | <No Value> | None | <No Value> | FALSE | [7 empty] | 0 | TRUE | None | FALSE
AZO_valve_1OxI_O41_0_Hand | I/O\Hand | Steuerung_1 | <No Value> | Bool | 2 | Binary | Absolute access | %DB1002.DBX502.6 | FALSE | <No Value> | <No Value> | 0 | <No Value> | <No Value> | Cyclic in operation | 1 s | None | <No Value> | None | <No Value> | FALSE | [7 empty] | 0 | TRUE | None | FALSE
AZO_valve_1OxI_O41_2_Hand | I/O\Hand | Steuerung_1 | <No Value> | Bool | 2 | Binary | Absolute access | %DB1022.DBX552.6 | FALSE | <No Value> | <No Value> | 0 | <No Value> | <No Value> | Cyclic in operation | 1 s | None | <No Value> | None | <No Value> | FALSE | [7 empty] | 0 | TRUE | None | FALSE
AZO_valve_1OxI_O41_3_Hand | I/O\Hand | Steuerung_1 | <No Value> | Bool | 2 | Binary | Absolute access | %DB1022.DBX602.6 | FALSE | <No Value> | <No Value> | 0 | <No Value> | <No Value> | Cyclic in operation | 1 s | None | <No Value> | None | <No Value> | FALSE | [7 empty] | 0 | TRUE | None | FALSE
AZO_valve_1OxI_O41_4_Hand | I/O\Hand | Steuerung_1 | <No Value> | Bool | 2 | Binary | Absolute access | %DB1022.DBX652.6 | FALSE | <No Value> | <No Value> | 0 | <No Value> | <No Value> | Cyclic in operation | 1 s | None | <No Value> | None | <No Value> | FALSE | [7 empty] | 0 | TRUE | None | FALSE
AZO_valve_1OxI_O41_5_Hand | I/O\Hand | Steuerung_1 | <No Value> | Bool | 2 | Binary | Absolute access | %DB1002.DBX702.6 | FALSE | <No Value> | <No Value> | 0 | <No Value> | <No Value> | Cyclic in operation | 1 s | None | <No Value> | None | <No Value> | FALSE | [7 empty] | 0 | TRUE | None | FALSE
AZO_valve_1OxI_O50_6_Hand | I/O\Hand | Steuerung_1 | <No Value> | Bool | 2 | Binary | Absolute access | %DB1003.DBX752.6 | FALSE | <No Value> | <No Value> | 0 | <No Value> | <No Value> | Cyclic in operation | 1 s | None | <No Value> | None | <No Value> | FALSE | [7 empty] | 0 | TRUE | None | FALSE
AZO_valve_1OxI_O51_0_Hand | I/O\Hand | Steuerung_1 | <No Value> | Bool | 2 | Binary | Absolute access | %DB1003.DBX802.6 | FALSE | <No Value> | <No Value> | 0 | <No Value> | <No Value> | Cyclic in operation | 1 s | None | <No Value> | None | <No Value> | FALSE | [7 empty] | 0 | TRUE | None | FALSE
AZO_valve_1OxI_O51_2_Hand | I/O\Hand | Steuerung_1 | <No Value> | Bool | 2 | Binary | Absolute access | %DB1023.DBX852.6 | FALSE | <No Value> | <No Value> | 0 | <No Value> | <No Value> | Cyclic in operation | 1 s | None | <No Value> | None | <No Value> | FALSE | [7 empty] | 0 | TRUE | None | FALSE
AZO_valve_1OxI_O51_3_Hand | I/O\Hand | Steuerung_1 | <No Value> | Bool | 2 | Binary | Absolute access | %DB1023.DBX902.6 | FALSE | <No Value> | <No Value> | 0 | <No Value> | <No Value> | Cyclic in operation | 1 s | None | <No Value> | None | <No Value> | FALSE | [7 empty] | 0 | TRUE | None | FALSE
AZO_valve_1OxI_O51_4_Hand | I/O\Hand | Steuerung_1 | <No Value> | Bool | 2 | Binary | Absolute access | %DB1023.DBX952.6 | FALSE | <No Value> | <No Value> | 0 | <No Value> | <No Value> | Cyclic in operation | 1 s | None | <No Value> | None | <No Value> | FALSE | [7 empty] | 0 | TRUE | None | FALSE
AZO_valve_1OxI_O51_5_Hand | I/O\Hand | Steuerung_1 | <No Value> | Bool | 2 | Binary | Absolute access | %DB1003.DBX1002.6 | FALSE | <No Value> | <No Value> | 0 | <No Value> | <No Value> | Cyclic in operation | 1 s | None | <No Value> | None | <No Value> | FALSE | [7 empty] | 0 | TRUE | None | FALSE
AZO_valve_1OxI_O60_4_Hand | I/O\Hand | Steuerung_1 | <No Value> | Bool | 2 | Binary | Absolute access | %DB1011.DBX1052.6 | FALSE | <No Value> | <No Value> | 0 | <No Value> | <No Value> | Cyclic in operation | 1 s | None | <No Value> | None | <No Value> | FALSE | [7 empty] | 0 | TRUE | None | FALSE
AZO_valve_1OxI_O61_1_Hand | I/O\Hand | Steuerung_1 | <No Value> | Bool | 2 | Binary | Absolute access | %DB1011.DBX1102.6 | FALSE | <No Value> | <No Value> | 0 | <No Value> | <No Value> | Cyclic in operation | 1 s | None | <No Value> | None | <No Value> | FALSE | [7 empty] | 0 | TRUE | None | FALSE
AZO_valve_1OxI_O61_2_Hand | I/O\Hand | Steuerung_1 | <No Value> | Bool | 2 | Binary | Absolute access | %DB1011.DBX1152.6 | FALSE | <No Value> | <No Value> | 0 | <No Value> | <No Value> | Cyclic in operation | 1 s | None | <No Value> | None | <No Value> | FALSE | [7 empty] | 0 | TRUE | None | FALSE
AZO_valve_1OxI_O70_6_Hand | I/O\Hand | Steuerung_1 | <No Value> | Bool | 2 | Binary | Absolute access | %DB1051.DBX1202.6 | FALSE | <No Value> | <No Value> | 0 | <No Value> | <No Value> | Cyclic in operation | 1 s | None | <No Value> | None | <No Value> | FALSE | [7 empty] | 0 | TRUE | None | FALSE
AZO_valve_1OxI_O70_7_Hand | I/O\Hand | Steuerung_1 | <No Value> | Bool | 2 | Binary | Absolute access | %DB1051.DBX1252.6 | FALSE | <No Value> | <No Value> | 0 | <No Value> | <No Value> | Cyclic in operation | 1 s | None | <No Value> | None | <No Value> | FALSE | [7 empty] | 0 | TRUE | None | FALSE
AZO_valve_1OxI_O71_6_Hand | I/O\Hand | Steuerung_1 | <No Value> | Bool | 2 | Binary | Absolute access | %DB1052.DBX1302.6 | FALSE | <No Value> | <No Value> | 0 | <No Value> | <No Value> | Cyclic in operation | 1 s | None | <No Value> | None | <No Value> | FALSE | [7 empty] | 0 | TRUE | None | FALSE
AZO_valve_1OxI_O71_7_Hand | I/O\Hand | Steuerung_1 | <No Value> | Bool | 2 | Binary | Absolute access | %DB1052.DBX1352.6 | FALSE | <No Value> | <No Value> | 0 | <No Value> | <No Value> | Cyclic in operation | 1 s | None | <No Value> | None | <No Value> | FALSE | [7 empty] | 0 | TRUE | None | FALSE
AZO_valve_1OxI_O72_6_Hand | I/O\Hand | Steuerung_1 | <No Value> | Bool | 2 | Binary | Absolute access | %DB1053.DBX1402.6 | FALSE | <No Value> | <No Value> | 0 | <No Value> | <No Value> | Cyclic in operation | 1 s | None | <No Value> | None | <No Value> | FALSE | [7 empty] | 0 | TRUE | None | FALSE
AZO_valve_1OxI_O72_7_Hand | I/O\Hand | Steuerung_1 | <No Value> | Bool | 2 | Binary | Absolute access | %DB1053.DBX1452.6 | FALSE | <No Value> | <No Value> | 0 | <No Value> | <No Value> | Cyclic in operation | 1 s | None | <No Value> | None | <No Value> | FALSE | [7 empty] | 0 | TRUE | None | FALSE
AZO_valve_1OxI_O73_1_Hand | I/O\Hand | Steuerung_1 | <No Value> | Bool | 2 | Binary | Absolute access | %DB1051.DBX1502.6 | FALSE | <No Value> | <No Value> | 0 | <No Value> | <No Value> | Cyclic in operation | 1 s | None | <No Value> | None | <No Value> | FALSE | [7 empty] | 0 | TRUE | None | FALSE
AZO_valve_1OxI_O73_2_Hand | I/O\Hand | Steuerung_1 | <No Value> | Bool | 2 | Binary | Absolute access | %DB1051.DBX1552.6 | FALSE | <No Value> | <No Value> | 0 | <No Value> | <No Value> | Cyclic in operation | 1 s | None | <No Value> | None | <No Value> | FALSE | [7 empty] | 0 | TRUE | None | FALSE
AZO_valve_1OxI_O73_5_Hand | I/O\Hand | Steuerung_1 | <No Value> | Bool | 2 | Binary | Absolute access | %DB1052.DBX1602.6 | FALSE | <No Value> | <No Value> | 0 | <No Value> | <No Value> | Cyclic in operation | 1 s | None | <No Value> | None | <No Value> | FALSE | [7 empty] | 0 | TRUE | None | FALSE
AZO_valve_1OxI_O73_6_Hand | I/O\Hand | Steuerung_1 | <No Value> | Bool | 2 | Binary | Absolute access | %DB1052.DBX1652.6 | FALSE | <No Value> | <No Value> | 0 | <No Value> | <No Value> | Cyclic in operation | 1 s | None | <No Value> | None | <No Value> | FALSE | [7 empty] | 0 | TRUE | None | FALSE
AZO_valve_1OxI_O74_1_Hand | I/O\Hand | Steuerung_1 | <No Value> | Bool | 2 | Binary | Absolute access | %DB1053.DBX1702.6 | FALSE | <No Value> | <No Value> | 0 | <No Value> | <No Value> | Cyclic in operation | 1 s | None | <No Value> | None | <No Value> | FALSE | [7 empty] | 0 | TRUE | None | FALSE
AZO_valve_1OxI_O74_2_Hand | I/O\Hand | Steuerung_1 | <No Value> | Bool | 2 | Binary | Absolute access | %DB1053.DBX1752.6 | FALSE | <No Value> | <No Value> | 0 | <No Value> | <No Value> | Cyclic in operation | 1 s | None | <No Value> | None | <No Value> | FALSE | [7 empty] | 0 | TRUE | None | FALSE
AZO_valve_1OxI_O80_6_Hand | I/O\Hand | Steuerung_1 | <No Value> | Bool | 2 | Binary | Absolute access | %DB1054.DBX1802.6 | FALSE | <No Value> | <No Value> | 0 | <No Value> | <No Value> | Cyclic in operation | 1 s | None | <No Value> | None | <No Value> | FALSE | [7 empty] | 0 | TRUE | None | FALSE
AZO_valve_1OxI_O80_7_Hand | I/O\Hand | Steuerung_1 | <No Value> | Bool | 2 | Binary | Absolute access | %DB1054.DBX1852.6 | FALSE | <No Value> | <No Value> | 0 | <No Value> | <No Value> | Cyclic in operation | 1 s | None | <No Value> | None | <No Value> | FALSE | [7 empty] | 0 | TRUE | None | FALSE
AZO_valve_1OxI_O81_6_Hand | I/O\Hand | Steuerung_1 | <No Value> | Bool | 2 | Binary | Absolute access | %DB1055.DBX1902.6 | FALSE | <No Value> | <No Value> | 0 | <No Value> | <No Value> | Cyclic in operation | 1 s | None | <No Value> | None | <No Value> | FALSE | [7 empty] | 0 | TRUE | None | FALSE
AZO_valve_1OxI_O81_7_Hand | I/O\Hand | Steuerung_1 | <No Value> | Bool | 2 | Binary | Absolute access | %DB1055.DBX1952.6 | FALSE | <No Value> | <No Value> | 0 | <No Value> | <No Value> | Cyclic in operation | 1 s | None | <No Value> | None | <No Value> | FALSE | [7 empty] | 0 | TRUE | None | FALSE
AZO_valve_1OxI_O82_6_Hand | I/O\Hand | Steuerung_1 | <No Value> | Bool | 2 | Binary | Absolute access | %DB1056.DBX2002.6 | FALSE | <No Value> | <No Value> | 0 | <No Value> | <No Value> | Cyclic in operation | 1 s | None | <No Value> | None | <No Value> | FALSE | [7 empty] | 0 | TRUE | None | FALSE
AZO_valve_1OxI_O82_7_Hand | I/O\Hand | Steuerung_1 | <No Value> | Bool | 2 | Binary | Absolute access | %DB1056.DBX2052.6 | FALSE | <No Value> | <No Value> | 0 | <No Value> | <No Value> | Cyclic in operation | 1 s | None | <No Value> | None | <No Value> | FALSE | [7 empty] | 0 | TRUE | None | FALSE
AZO_valve_1OxI_O83_1_Hand | I/O\Hand | Steuerung_1 | <No Value> | Bool | 2 | Binary | Absolute access | %DB1054.DBX2102.6 | FALSE | <No Value> | <No Value> | 0 | <No Value> | <No Value> | Cyclic in operation | 1 s | None | <No Value> | None | <No Value> | FALSE | [7 empty] | 0 | TRUE | None | FALSE
AZO_valve_1OxI_O83_2_Hand | I/O\Hand | Steuerung_1 | <No Value> | Bool | 2 | Binary | Absolute access | %DB1054.DBX2152.6 | FALSE | <No Value> | <No Value> | 0 | <No Value> | <No Value> | Cyclic in operation | 1 s | None | <No Value> | None | <No Value> | FALSE | [7 empty] | 0 | TRUE | None | FALSE
AZO_valve_1OxI_O83_5_Hand | I/O\Hand | Steuerung_1 | <No Value> | Bool | 2 | Binary | Absolute access | %DB1055.DBX2202.6 | FALSE | <No Value> | <No Value> | 0 | <No Value> | <No Value> | Cyclic in operation | 1 s | None | <No Value> | None | <No Value> | FALSE | [7 empty] | 0 | TRUE | None | FALSE
AZO_valve_1OxI_O83_6_Hand | I/O\Hand | Steuerung_1 | <No Value> | Bool | 2 | Binary | Absolute access | %DB1055.DBX2252.6 | FALSE | <No Value> | <No Value> | 0 | <No Value> | <No Value> | Cyclic in operation | 1 s | None | <No Value> | None | <No Value> | FALSE | [7 empty] | 0 | TRUE | None | FALSE
AZO_valve_1OxI_O84_1_Hand | I/O\Hand | Steuerung_1 | <No Value> | Bool | 2 | Binary | Absolute access | %DB1056.DBX2302.6 | FALSE | <No Value> | <No Value> | 0 | <No Value> | <No Value> | Cyclic in operation | 1 s | None | <No Value> | None | <No Value> | FALSE | [7 empty] | 0 | TRUE | None | FALSE
AZO_valve_1OxI_O84_2_Hand | I/O\Hand | Steuerung_1 | <No Value> | Bool | 2 | Binary | Absolute access | %DB1056.DBX2352.6 | FALSE | <No Value> | <No Value> | 0 | <No Value> | <No Value> | Cyclic in operation | 1 s | None | <No Value> | None | <No Value> | FALSE | [7 empty] | 0 | TRUE | None | FALSE
AZO_valve_1OxI_O78_0_Hand | I/O\Hand | Steuerung_1 | <No Value> | Bool | 2 | Binary | Absolute access | %DB1051.DBX2402.6 | FALSE | <No Value> | <No Value> | 0 | <No Value> | <No Value> | Cyclic in operation | 1 s | None | <No Value> | None | <No Value> | FALSE | [7 empty] | 0 | TRUE | None | FALSE
AZO_valve_1OxI_O78_1_Hand | I/O\Hand | Steuerung_1 | <No Value> | Bool | 2 | Binary | Absolute access | %DB1052.DBX2452.6 | FALSE | <No Value> | <No Value> | 0 | <No Value> | <No Value> | Cyclic in operation | 1 s | None | <No Value> | None | <No Value> | FALSE | [7 empty] | 0 | TRUE | None | FALSE
AZO_valve_1OxI_O78_2_Hand | I/O\Hand | Steuerung_1 | <No Value> | Bool | 2 | Binary | Absolute access | %DB1053.DBX2502.6 | FALSE | <No Value> | <No Value> | 0 | <No Value> | <No Value> | Cyclic in operation | 1 s | None | <No Value> | None | <No Value> | FALSE | [7 empty] | 0 | TRUE | None | FALSE
AZO_valve_1OxI_O78_3_Hand | I/O\Hand | Steuerung_1 | <No Value> | Bool | 2 | Binary | Absolute access | %DB1054.DBX2552.6 | FALSE | <No Value> | <No Value> | 0 | <No Value> | <No Value> | Cyclic in operation | 1 s | None | <No Value> | None | <No Value> | FALSE | [7 empty] | 0 | TRUE | None | FALSE
AZO_valve_1OxI_O78_4_Hand | I/O\Hand | Steuerung_1 | <No Value> | Bool | 2 | Binary | Absolute access | %DB1055.DBX2602.6 | FALSE | <No Value> | <No Value> | 0 | <No Value> | <No Value> | Cyclic in operation | 1 s | None | <No Value> | None | <No Value> | FALSE | [7 empty] | 0 | TRUE | None | FALSE
AZO_valve_1OxI_O78_5_Hand | I/O\Hand | Steuerung_1 | <No Value> | Bool | 2 | Binary | Absolute access | %DB1056.DBX2652.6 | FALSE | <No Value> | <No Value> | 0 | <No Value> | <No Value> | Cyclic in operation | 1 s | None | <No Value> | None | <No Value> | FALSE | [7 empty] | 0 | TRUE | None | FALSE
AZO_valve_1OxI_O79_0_Hand | I/O\Hand | Steuerung_1 | <No Value> | Bool | 2 | Binary | Absolute access | %DB1051.DBX2702.6 | FALSE | <No Value> | <No Value> | 0 | <No Value> | <No Value> | Cyclic in operation | 1 s | None | <No Value> | None | <No Value> | FALSE | [7 empty] | 0 | TRUE | None | FALSE
AZO_valve_1OxI_O79_1_Hand | I/O\Hand | Steuerung_1 | <No Value> | Bool | 2 | Binary | Absolute access | %DB1052.DBX2752.6 | FALSE | <No Value> | <No Value> | 0 | <No Value> | <No Value> | Cyclic in operation | 1 s | None | <No Value> | None | <No Value> | FALSE | [7 empty] | 0 | TRUE | None | FALSE
AZO_valve_1OxI_O79_2_Hand | I/O\Hand | Steuerung_1 | <No Value> | Bool | 2 | Binary | Absolute access | %DB1053.DBX2802.6 | FALSE | <No Value> | <No Value> | 0 | <No Value> | <No Value> | Cyclic in operation | 1 s | None | <No Value> | None | <No Value> | FALSE | [7 empty] | 0 | TRUE | None | FALSE
AZO_valve_1OxI_O79_3_Hand | I/O\Hand | Steuerung_1 | <No Value> | Bool | 2 | Binary | Absolute access | %DB1054.DBX2852.6 | FALSE | <No Value> | <No Value> | 0 | <No Value> | <No Value> | Cyclic in operation | 1 s | None | <No Value> | None | <No Value> | FALSE | [7 empty] | 0 | TRUE | None | FALSE
AZO_valve_1OxI_O79_4_Hand | I/O\Hand | Steuerung_1 | <No Value> | Bool | 2 | Binary | Absolute access | %DB1055.DBX2902.6 | FALSE | <No Value> | <No Value> | 0 | <No Value> | <No Value> | Cyclic in operation | 1 s | None | <No Value> | None | <No Value> | FALSE | [7 empty] | 0 | TRUE | None | FALSE
AZO_valve_1OxI_O79_5_Hand | I/O\Hand | Steuerung_1 | <No Value> | Bool | 2 | Binary | Absolute access | %DB1056.DBX2952.6 | FALSE | <No Value> | <No Value> | 0 | <No Value> | <No Value> | Cyclic in operation | 1 s | None | <No Value> | None | <No Value> | FALSE | [7 empty] | 0 | TRUE | None | FALSE
AZO_valve_1OxI_O90_5_Hand | I/O\Hand | Steuerung_1 | <No Value> | Bool | 2 | Binary | Absolute access | %DB1112.DBX3002.6 | FALSE | <No Value> | <No Value> | 0 | <No Value> | <No Value> | Cyclic in operation | 1 s | None | <No Value> | None | <No Value> | FALSE | [7 empty] | 0 | TRUE | None | FALSE
AZO_valve_1OxI_O90_6_Hand | I/O\Hand | Steuerung_1 | <No Value> | Bool | 2 | Binary | Absolute access | %DB1112.DBX3052.6 | FALSE | <No Value> | <No Value> | 0 | <No Value> | <No Value> | Cyclic in operation | 1 s | None | <No Value> | None | <No Value> | FALSE | [7 empty] | 0 | TRUE | None | FALSE
AZO_valve_1OxI_O90_7_Hand | I/O\Hand | Steuerung_1 | <No Value> | Bool | 2 | Binary | Absolute access | %DB1112.DBX3102.6 | FALSE | <No Value> | <No Value> | 0 | <No Value> | <No Value> | Cyclic in operation | 1 s | None | <No Value> | None | <No Value> | FALSE | [7 empty] | 0 | TRUE | None | FALSE
AZO_valve_1OxI_O91_0_Hand | I/O\Hand | Steuerung_1 | <No Value> | Bool | 2 | Binary | Absolute access | %DB1112.DBX3152.6 | FALSE | <No Value> | <No Value> | 0 | <No Value> | <No Value> | Cyclic in operation | 1 s | None | <No Value> | None | <No Value> | FALSE | [7 empty] | 0 | TRUE | None | FALSE
AZO_valve_1OxI_O91_1_Hand | I/O\Hand | Steuerung_1 | <No Value> | Bool | 2 | Binary | Absolute access | %DB1112.DBX3202.6 | FALSE | <No Value> | <No Value> | 0 | <No Value> | <No Value> | Cyclic in operation | 1 s | None | <No Value> | None | <No Value> | FALSE | [7 empty] | 0 | TRUE | None | FALSE
AZO_valve_1OxI_O91_7_Hand | I/O\Hand | Steuerung_1 | <No Value> | Bool | 2 | Binary | Absolute access | %DB1111.DBX3252.6 | FALSE | <No Value> | <No Value> | 0 | <No Value> | <No Value> | Cyclic in operation | 1 s | None | <No Value> | None | <No Value> | FALSE | [7 empty] | 0 | TRUE | None | FALSE
AZO_valve_1OxI_O92_0_Hand | I/O\Hand | Steuerung_1 | <No Value> | Bool | 2 | Binary | Absolute access | %DB1111.DBX3302.6 | FALSE | <No Value> | <No Value> | 0 | <No Value> | <No Value> | Cyclic in operation | 1 s | None | <No Value> | None | <No Value> | FALSE | [7 empty] | 0 | TRUE | None | FALSE
AZO_valve_1OxI_O92_1_Hand | I/O\Hand | Steuerung_1 | <No Value> | Bool | 2 | Binary | Absolute access | %DB1111.DBX3352.6 | FALSE | <No Value> | <No Value> | 0 | <No Value> | <No Value> | Cyclic in operation | 1 s | None | <No Value> | None | <No Value> | FALSE | [7 empty] | 0 | TRUE | None | FALSE
AZO_valve_1OxI_O92_2_Hand | I/O\Hand | Steuerung_1 | <No Value> | Bool | 2 | Binary | Absolute access | %DB1111.DBX3402.6 | FALSE | <No Value> | <No Value> | 0 | <No Value> | <No Value> | Cyclic in operation | 1 s | None | <No Value> | None | <No Value> | FALSE | [7 empty] | 0 | TRUE | None | FALSE
AZO_valve_1OxI_O93_1_Hand | I/O\Hand | Steuerung_1 | <No Value> | Bool | 2 | Binary | Absolute access | %DB1110.DBX3452.6 | FALSE | <No Value> | <No Value> | 0 | <No Value> | <No Value> | Cyclic in operation | 1 s | None | <No Value> | None | <No Value> | FALSE | [7 empty] | 0 | TRUE | None | FALSE
AZO_valve_1OxI_O93_2_Hand | I/O\Hand | Steuerung_1 | <No Value> | Bool | 2 | Binary | Absolute access | %DB1110.DBX3502.6 | FALSE | <No Value> | <No Value> | 0 | <No Value> | <No Value> | Cyclic in operation | 1 s | None | <No Value> | None | <No Value> | FALSE | [7 empty] | 0 | TRUE | None | FALSE
AZO_valve_1OxI_O93_3_Hand | I/O\Hand | Steuerung_1 | <No Value> | Bool | 2 | Binary | Absolute access | %DB1110.DBX3552.6 | FALSE | <No Value> | <No Value> | 0 | <No Value> | <No Value> | Cyclic in operation | 1 s | None | <No Value> | None | <No Value> | FALSE | [7 empty] | 0 | TRUE | None | FALSE
AZO_valve_1OxI_O93_4_Hand | I/O\Hand | Steuerung_1 | <No Value> | Bool | 2 | Binary | Absolute access | %DB1110.DBX3602.6 | FALSE | <No Value> | <No Value> | 0 | <No Value> | <No Value> | Cyclic in operation | 1 s | None | <No Value> | None | <No Value> | FALSE | [7 empty] | 0 | TRUE | None | FALSE
AZO_valve_1OxI_O94_3_Hand | I/O\Hand | Steuerung_1 | <No Value> | Bool | 2 | Binary | Absolute access | %DB1119.DBX3652.6 | FALSE | <No Value> | <No Value> | 0 | <No Value> | <No Value> | Cyclic in operation | 1 s | None | <No Value> | None | <No Value> | FALSE | [7 empty] | 0 | TRUE | None | FALSE
AZO_valve_1OxI_O94_4_Hand | I/O\Hand | Steuerung_1 | <No Value> | Bool | 2 | Binary | Absolute access | %DB1119.DBX3702.6 | FALSE | <No Value> | <No Value> | 0 | <No Value> | <No Value> | Cyclic in operation | 1 s | None | <No Value> | None | <No Value> | FALSE | [7 empty] | 0 | TRUE | None | FALSE
AZO_valve_1OxI_O94_5_Hand | I/O\Hand | Steuerung_1 | <No Value> | Bool | 2 | Binary | Absolute access | %DB1119.DBX3752.6 | FALSE | <No Value> | <No Value> | 0 | <No Value> | <No Value> | Cyclic in operation | 1 s | None | <No Value> | None | <No Value> | FALSE | [7 empty] | 0 | TRUE | None | FALSE
AZO_valve_1OxI_O94_6_Hand | I/O\Hand | Steuerung_1 | <No Value> | Bool | 2 | Binary | Absolute access | %DB1119.DBX3802.6 | FALSE | <No Value> | <No Value> | 0 | <No Value> | <No Value> | Cyclic in operation | 1 s | None | <No Value> | None | <No Value> | FALSE | [7 empty] | 0 | TRUE | None | FALSE
AZO_valve_1OxI_O95_5_Hand | I/O\Hand | Steuerung_1 | <No Value> | Bool | 2 | Binary | Absolute access | %DB1114.DBX3852.6 | FALSE | <No Value> | <No Value> | 0 | <No Value> | <No Value> | Cyclic in operation | 1 s | None | <No Value> | None | <No Value> | FALSE | [7 empty] | 0 | TRUE | None | FALSE
AZO_valve_1OxI_O95_6_Hand | I/O\Hand | Steuerung_1 | <No Value> | Bool | 2 | Binary | Absolute access | %DB1114.DBX3902.6 | FALSE | <No Value> | <No Value> | 0 | <No Value> | <No Value> | Cyclic in operation | 1 s | None | <No Value> | None | <No Value> | FALSE | [7 empty] | 0 | TRUE | None | FALSE
AZO_valve_1OxI_O95_7_Hand | I/O\Hand | Steuerung_1 | <No Value> | Bool | 2 | Binary | Absolute access | %DB1114.DBX3952.6 | FALSE | <No Value> | <No Value> | 0 | <No Value> | <No Value> | Cyclic in operation | 1 s | None | <No Value> | None | <No Value> | FALSE | [7 empty] | 0 | TRUE | None | FALSE
AZO_valve_1OxI_O96_0_Hand | I/O\Hand | Steuerung_1 | <No Value> | Bool | 2 | Binary | Absolute access | %DB1114.DBX4002.6 | FALSE | <No Value> | <No Value> | 0 | <No Value> | <No Value> | Cyclic in operation | 1 s | None | <No Value> | None | <No Value> | FALSE | [7 empty] | 0 | TRUE | None | FALSE
AZO_valve_1OxI_O100_5_Hand | I/O\Hand | Steuerung_1 | <No Value> | Bool | 2 | Binary | Absolute access | %DB1122.DBX4052.6 | FALSE | <No Value> | <No Value> | 0 | <No Value> | <No Value> | Cyclic in operation | 1 s | None | <No Value> | None | <No Value> | FALSE | [7 empty] | 0 | TRUE | None | FALSE
AZO_valve_1OxI_O100_6_Hand | I/O\Hand | Steuerung_1 | <No Value> | Bool | 2 | Binary | Absolute access | %DB1122.DBX4102.6 | FALSE | <No Value> | <No Value> | 0 | <No Value> | <No Value> | Cyclic in operation | 1 s | None | <No Value> | None | <No Value> | FALSE | [7 empty] | 0 | TRUE | None | FALSE
AZO_valve_1OxI_O100_7_Hand | I/O\Hand | Steuerung_1 | <No Value> | Bool | 2 | Binary | Absolute access | %DB1122.DBX4152.6 | FALSE | <No Value> | <No Value> | 0 | <No Value> | <No Value> | Cyclic in operation | 1 s | None | <No Value> | None | <No Value> | FALSE | [7 empty] | 0 | TRUE | None | FALSE
AZO_valve_1OxI_O101_0_Hand | I/O\Hand | Steuerung_1 | <No Value> | Bool | 2 | Binary | Absolute access | %DB1122.DBX4202.6 | FALSE | <No Value> | <No Value> | 0 | <No Value> | <No Value> | Cyclic in operation | 1 s | None | <No Value> | None | <No Value> | FALSE | [7 empty] | 0 | TRUE | None | FALSE
AZO_valve_1OxI_O101_1_Hand | I/O\Hand | Steuerung_1 | <No Value> | Bool | 2 | Binary | Absolute access | %DB1122.DBX4252.6 | FALSE | <No Value> | <No Value> | 0 | <No Value> | <No Value> | Cyclic in operation | 1 s | None | <No Value> | None | <No Value> | FALSE | [7 empty] | 0 | TRUE | None | FALSE
AZO_valve_1OxI_O101_7_Hand | I/O\Hand | Steuerung_1 | <No Value> | Bool | 2 | Binary | Absolute access | %DB1121.DBX4302.6 | FALSE | <No Value> | <No Value> | 0 | <No Value> | <No Value> | Cyclic in operation | 1 s | None | <No Value> | None | <No Value> | FALSE | [7 empty] | 0 | TRUE | None | FALSE
AZO_valve_1OxI_O102_0_Hand | I/O\Hand | Steuerung_1 | <No Value> | Bool | 2 | Binary | Absolute access | %DB1121.DBX4352.6 | FALSE | <No Value> | <No Value> | 0 | <No Value> | <No Value> | Cyclic in operation | 1 s | None | <No Value> | None | <No Value> | FALSE | [7 empty] | 0 | TRUE | None | FALSE
AZO_valve_1OxI_O102_1_Hand | I/O\Hand | Steuerung_1 | <No Value> | Bool | 2 | Binary | Absolute access | %DB1121.DBX4402.6 | FALSE | <No Value> | <No Value> | 0 | <No Value> | <No Value> | Cyclic in operation | 1 s | None | <No Value> | None | <No Value> | FALSE | [7 empty] | 0 | TRUE | None | FALSE
AZO_valve_1OxI_O102_2_Hand | I/O\Hand | Steuerung_1 | <No Value> | Bool | 2 | Binary | Absolute access | %DB1121.DBX4452.6 | FALSE | <No Value> | <No Value> | 0 | <No Value> | <No Value> | Cyclic in operation | 1 s | None | <No Value> | None | <No Value> | FALSE | [7 empty] | 0 | TRUE | None | FALSE
AZO_valve_1OxI_O103_1_Hand | I/O\Hand | Steuerung_1 | <No Value> | Bool | 2 | Binary | Absolute access | %DB1120.DBX4502.6 | FALSE | <No Value> | <No Value> | 0 | <No Value> | <No Value> | Cyclic in operation | 1 s | None | <No Value> | None | <No Value> | FALSE | [7 empty] | 0 | TRUE | None | FALSE
AZO_valve_1OxI_O103_2_Hand | I/O\Hand | Steuerung_1 | <No Value> | Bool | 2 | Binary | Absolute access | %DB1120.DBX4552.6 | FALSE | <No Value> | <No Value> | 0 | <No Value> | <No Value> | Cyclic in operation | 1 s | None | <No Value> | None | <No Value> | FALSE | [7 empty] | 0 | TRUE | None | FALSE
AZO_valve_1OxI_O103_3_Hand | I/O\Hand | Steuerung_1 | <No Value> | Bool | 2 | Binary | Absolute access | %DB1120.DBX4602.6 | FALSE | <No Value> | <No Value> | 0 | <No Value> | <No Value> | Cyclic in operation | 1 s | None | <No Value> | None | <No Value> | FALSE | [7 empty] | 0 | TRUE | None | FALSE
AZO_valve_1OxI_O103_4_Hand | I/O\Hand | Steuerung_1 | <No Value> | Bool | 2 | Binary | Absolute access | %DB1120.DBX4652.6 | FALSE | <No Value> | <No Value> | 0 | <No Value> | <No Value> | Cyclic in operation | 1 s | None | <No Value> | None | <No Value> | FALSE | [7 empty] | 0 | TRUE | None | FALSE
AZO_valve_1OxI_O104_3_Hand | I/O\Hand | Steuerung_1 | <No Value> | Bool | 2 | Binary | Absolute access | %DB1129.DBX4702.6 | FALSE | <No Value> | <No Value> | 0 | <No Value> | <No Value> | Cyclic in operation | 1 s | None | <No Value> | None | <No Value> | FALSE | [7 empty] | 0 | TRUE | None | FALSE
AZO_valve_1OxI_O104_4_Hand | I/O\Hand | Steuerung_1 | <No Value> | Bool | 2 | Binary | Absolute access | %DB1129.DBX4752.6 | FALSE | <No Value> | <No Value> | 0 | <No Value> | <No Value> | Cyclic in operation | 1 s | None | <No Value> | None | <No Value> | FALSE | [7 empty] | 0 | TRUE | None | FALSE
AZO_valve_1OxI_O104_5_Hand | I/O\Hand | Steuerung_1 | <No Value> | Bool | 2 | Binary | Absolute access | %DB1129.DBX4802.6 | FALSE | <No Value> | <No Value> | 0 | <No Value> | <No Value> | Cyclic in operation | 1 s | None | <No Value> | None | <No Value> | FALSE | [7 empty] | 0 | TRUE | None | FALSE
AZO_valve_1OxI_O104_6_Hand | I/O\Hand | Steuerung_1 | <No Value> | Bool | 2 | Binary | Absolute access | %DB1129.DBX4852.6 | FALSE | <No Value> | <No Value> | 0 | <No Value> | <No Value> | Cyclic in operation | 1 s | None | <No Value> | None | <No Value> | FALSE | [7 empty] | 0 | TRUE | None | FALSE
AZO_valve_1OxI_O105_5_Hand | I/O\Hand | Steuerung_1 | <No Value> | Bool | 2 | Binary | Absolute access | %DB1124.DBX4902.6 | FALSE | <No Value> | <No Value> | 0 | <No Value> | <No Value> | Cyclic in operation | 1 s | None | <No Value> | None | <No Value> | FALSE | [7 empty] | 0 | TRUE | None | FALSE
AZO_valve_1OxI_O105_6_Hand | I/O\Hand | Steuerung_1 | <No Value> | Bool | 2 | Binary | Absolute access | %DB1124.DBX4952.6 | FALSE | <No Value> | <No Value> | 0 | <No Value> | <No Value> | Cyclic in operation | 1 s | None | <No Value> | None | <No Value> | FALSE | [7 empty] | 0 | TRUE | None | FALSE
AZO_valve_1OxI_O105_7_Hand | I/O\Hand | Steuerung_1 | <No Value> | Bool | 2 | Binary | Absolute access | %DB1124.DBX5002.6 | FALSE | <No Value> | <No Value> | 0 | <No Value> | <No Value> | Cyclic in operation | 1 s | None | <No Value> | None | <No Value> | FALSE | [7 empty] | 0 | TRUE | None | FALSE
AZO_valve_1OxI_O106_0_Hand | I/O\Hand | Steuerung_1 | <No Value> | Bool | 2 | Binary | Absolute access | %DB1124.DBX5052.6 | FALSE | <No Value> | <No Value> | 0 | <No Value> | <No Value> | Cyclic in operation | 1 s | None | <No Value> | None | <No Value> | FALSE | [7 empty] | 0 | TRUE | None | FALSE
AZO_valve_1OxI_O110_5_Hand | I/O\Hand | Steuerung_1 | <No Value> | Bool | 2 | Binary | Absolute access | %DB1212.DBX5102.6 | FALSE | <No Value> | <No Value> | 0 | <No Value> | <No Value> | Cyclic in operation | 1 s | None | <No Value> | None | <No Value> | FALSE | [7 empty] | 0 | TRUE | None | FALSE
AZO_valve_1OxI_O110_6_Hand | I/O\Hand | Steuerung_1 | <No Value> | Bool | 2 | Binary | Absolute access | %DB1212.DBX5152.6 | FALSE | <No Value> | <No Value> | 0 | <No Value> | <No Value> | Cyclic in operation | 1 s | None | <No Value> | None | <No Value> | FALSE | [7 empty] | 0 | TRUE | None | FALSE
AZO_valve_1OxI_O110_7_Hand | I/O\Hand | Steuerung_1 | <No Value> | Bool | 2 | Binary | Absolute access | %DB1212.DBX5202.6 | FALSE | <No Value> | <No Value> | 0 | <No Value> | <No Value> | Cyclic in operation | 1 s | None | <No Value> | None | <No Value> | FALSE | [7 empty] | 0 | TRUE | None | FALSE
AZO_valve_1OxI_O111_0_Hand | I/O\Hand | Steuerung_1 | <No Value> | Bool | 2 | Binary | Absolute access | %DB1212.DBX5252.6 | FALSE | <No Value> | <No Value> | 0 | <No Value> | <No Value> | Cyclic in operation | 1 s | None | <No Value> | None | <No Value> | FALSE | [7 empty] | 0 | TRUE | None | FALSE
AZO_valve_1OxI_O111_1_Hand | I/O\Hand | Steuerung_1 | <No Value> | Bool | 2 | Binary | Absolute access | %DB1212.DBX5302.6 | FALSE | <No Value> | <No Value> | 0 | <No Value> | <No Value> | Cyclic in operation | 1 s | None | <No Value> | None | <No Value> | FALSE | [7 empty] | 0 | TRUE | None | FALSE
AZO_valve_1OxI_O111_7_Hand | I/O\Hand | Steuerung_1 | <No Value> | Bool | 2 | Binary | Absolute access | %DB1211.DBX5352.6 | FALSE | <No Value> | <No Value> | 0 | <No Value> | <No Value> | Cyclic in operation | 1 s | None | <No Value> | None | <No Value> | FALSE | [7 empty] | 0 | TRUE | None | FALSE
AZO_valve_1OxI_O112_0_Hand | I/O\Hand | Steuerung_1 | <No Value> | Bool | 2 | Binary | Absolute access | %DB1211.DBX5402.6 | FALSE | <No Value> | <No Value> | 0 | <No Value> | <No Value> | Cyclic in operation | 1 s | None | <No Value> | None | <No Value> | FALSE | [7 empty] | 0 | TRUE | None | FALSE
AZO_valve_1OxI_O112_1_Hand | I/O\Hand | Steuerung_1 | <No Value> | Bool | 2 | Binary | Absolute access | %DB1211.DBX5452.6 | FALSE | <No Value> | <No Value> | 0 | <No Value> | <No Value> | Cyclic in operation | 1 s | None | <No Value> | None | <No Value> | FALSE | [7 empty] | 0 | TRUE | None | FALSE
AZO_valve_1OxI_O112_2_Hand | I/O\Hand | Steuerung_1 | <No Value> | Bool | 2 | Binary | Absolute access | %DB1211.DBX5502.6 | FALSE | <No Value> | <No Value> | 0 | <No Value> | <No Value> | Cyclic in operation | 1 s | None | <No Value> | None | <No Value> | FALSE | [7 empty] | 0 | TRUE | None | FALSE
AZO_valve_1OxI_O113_1_Hand | I/O\Hand | Steuerung_1 | <No Value> | Bool | 2 | Binary | Absolute access | %DB1210.DBX5552.6 | FALSE | <No Value> | <No Value> | 0 | <No Value> | <No Value> | Cyclic in operation | 1 s | None | <No Value> | None | <No Value> | FALSE | [7 empty] | 0 | TRUE | None | FALSE
AZO_valve_1OxI_O113_2_Hand | I/O\Hand | Steuerung_1 | <No Value> | Bool | 2 | Binary | Absolute access | %DB1210.DBX5602.6 | FALSE | <No Value> | <No Value> | 0 | <No Value> | <No Value> | Cyclic in operation | 1 s | None | <No Value> | None | <No Value> | FALSE | [7 empty] | 0 | TRUE | None | FALSE
AZO_valve_1OxI_O113_3_Hand | I/O\Hand | Steuerung_1 | <No Value> | Bool | 2 | Binary | Absolute access | %DB1210.DBX5652.6 | FALSE | <No Value> | <No Value> | 0 | <No Value> | <No Value> | Cyclic in operation | 1 s | None | <No Value> | None | <No Value> | FALSE | [7 empty] | 0 | TRUE | None | FALSE
AZO_valve_1OxI_O113_4_Hand | I/O\Hand | Steuerung_1 | <No Value> | Bool | 2 | Binary | Absolute access | %DB1210.DBX5702.6 | FALSE | <No Value> | <No Value> | 0 | <No Value> | <No Value> | Cyclic in operation | 1 s | None | <No Value> | None | <No Value> | FALSE | [7 empty] | 0 | TRUE | None | FALSE
AZO_valve_1OxI_O114_3_Hand | I/O\Hand | Steuerung_1 | <No Value> | Bool | 2 | Binary | Absolute access | %DB1219.DBX5752.6 | FALSE | <No Value> | <No Value> | 0 | <No Value> | <No Value> | Cyclic in operation | 1 s | None | <No Value> | None | <No Value> | FALSE | [7 empty] | 0 | TRUE | None | FALSE
AZO_valve_1OxI_O114_4_Hand | I/O\Hand | Steuerung_1 | <No Value> | Bool | 2 | Binary | Absolute access | %DB1219.DBX5802.6 | FALSE | <No Value> | <No Value> | 0 | <No Value> | <No Value> | Cyclic in operation | 1 s | None | <No Value> | None | <No Value> | FALSE | [7 empty] | 0 | TRUE | None | FALSE
AZO_valve_1OxI_O114_5_Hand | I/O\Hand | Steuerung_1 | <No Value> | Bool | 2 | Binary | Absolute access | %DB1219.DBX5852.6 | FALSE | <No Value> | <No Value> | 0 | <No Value> | <No Value> | Cyclic in operation | 1 s | None | <No Value> | None | <No Value> | FALSE | [7 empty] | 0 | TRUE | None | FALSE
AZO_valve_1OxI_O114_6_Hand | I/O\Hand | Steuerung_1 | <No Value> | Bool | 2 | Binary | Absolute access | %DB1219.DBX5902.6 | FALSE | <No Value> | <No Value> | 0 | <No Value> | <No Value> | Cyclic in operation | 1 s | None | <No Value> | None | <No Value> | FALSE | [7 empty] | 0 | TRUE | None | FALSE
AZO_valve_1OxI_O115_5_Hand | I/O\Hand | Steuerung_1 | <No Value> | Bool | 2 | Binary | Absolute access | %DB1214.DBX5952.6 | FALSE | <No Value> | <No Value> | 0 | <No Value> | <No Value> | Cyclic in operation | 1 s | None | <No Value> | None | <No Value> | FALSE | [7 empty] | 0 | TRUE | None | FALSE
AZO_valve_1OxI_O115_6_Hand | I/O\Hand | Steuerung_1 | <No Value> | Bool | 2 | Binary | Absolute access | %DB1214.DBX6002.6 | FALSE | <No Value> | <No Value> | 0 | <No Value> | <No Value> | Cyclic in operation | 1 s | None | <No Value> | None | <No Value> | FALSE | [7 empty] | 0 | TRUE | None | FALSE
AZO_valve_1OxI_O115_7_Hand | I/O\Hand | Steuerung_1 | <No Value> | Bool | 2 | Binary | Absolute access | %DB1214.DBX6052.6 | FALSE | <No Value> | <No Value> | 0 | <No Value> | <No Value> | Cyclic in operation | 1 s | None | <No Value> | None | <No Value> | FALSE | [7 empty] | 0 | TRUE | None | FALSE
AZO_valve_1OxI_O116_0_Hand | I/O\Hand | Steuerung_1 | <No Value> | Bool | 2 | Binary | Absolute access | %DB1214.DBX6102.6 | FALSE | <No Value> | <No Value> | 0 | <No Value> | <No Value> | Cyclic in operation | 1 s | None | <No Value> | None | <No Value> | FALSE | [7 empty] | 0 | TRUE | None | FALSE
AZO_valve_1OxI_O120_5_Hand | I/O\Hand | Steuerung_1 | <No Value> | Bool | 2 | Binary | Absolute access | %DB1222.DBX6152.6 | FALSE | <No Value> | <No Value> | 0 | <No Value> | <No Value> | Cyclic in operation | 1 s | None | <No Value> | None | <No Value> | FALSE | [7 empty] | 0 | TRUE | None | FALSE
AZO_valve_1OxI_O120_6_Hand | I/O\Hand | Steuerung_1 | <No Value> | Bool | 2 | Binary | Absolute access | %DB1222.DBX6202.6 | FALSE | <No Value> | <No Value> | 0 | <No Value> | <No Value> | Cyclic in operation | 1 s | None | <No Value> | None | <No Value> | FALSE | [7 empty] | 0 | TRUE | None | FALSE
AZO_valve_1OxI_O120_7_Hand | I/O\Hand | Steuerung_1 | <No Value> | Bool | 2 | Binary | Absolute access | %DB1222.DBX6252.6 | FALSE | <No Value> | <No Value> | 0 | <No Value> | <No Value> | Cyclic in operation | 1 s | None | <No Value> | None | <No Value> | FALSE | [7 empty] | 0 | TRUE | None | FALSE
AZO_valve_1OxI_O121_0_Hand | I/O\Hand | Steuerung_1 | <No Value> | Bool | 2 | Binary | Absolute access | %DB1222.DBX6302.6 | FALSE | <No Value> | <No Value> | 0 | <No Value> | <No Value> | Cyclic in operation | 1 s | None | <No Value> | None | <No Value> | FALSE | [7 empty] | 0 | TRUE | None | FALSE
AZO_valve_1OxI_O121_1_Hand | I/O\Hand | Steuerung_1 | <No Value> | Bool | 2 | Binary | Absolute access | %DB1222.DBX6352.6 | FALSE | <No Value> | <No Value> | 0 | <No Value> | <No Value> | Cyclic in operation | 1 s | None | <No Value> | None | <No Value> | FALSE | [7 empty] | 0 | TRUE | None | FALSE
AZO_valve_1OxI_O121_7_Hand | I/O\Hand | Steuerung_1 | <No Value> | Bool | 2 | Binary | Absolute access | %DB1221.DBX6402.6 | FALSE | <No Value> | <No Value> | 0 | <No Value> | <No Value> | Cyclic in operation | 1 s | None | <No Value> | None | <No Value> | FALSE | [7 empty] | 0 | TRUE | None | FALSE
AZO_valve_1OxI_O122_0_Hand | I/O\Hand | Steuerung_1 | <No Value> | Bool | 2 | Binary | Absolute access | %DB1221.DBX6452.6 | FALSE | <No Value> | <No Value> | 0 | <No Value> | <No Value> | Cyclic in operation | 1 s | None | <No Value> | None | <No Value> | FALSE | [7 empty] | 0 | TRUE | None | FALSE
AZO_valve_1OxI_O122_1_Hand | I/O\Hand | Steuerung_1 | <No Value> | Bool | 2 | Binary | Absolute access | %DB1221.DBX6502.6 | FALSE | <No Value> | <No Value> | 0 | <No Value> | <No Value> | Cyclic in operation | 1 s | None | <No Value> | None | <No Value> | FALSE | [7 empty] | 0 | TRUE | None | FALSE
AZO_valve_1OxI_O122_2_Hand | I/O\Hand | Steuerung_1 | <No Value> | Bool | 2 | Binary | Absolute access | %DB1221.DBX6552.6 | FALSE | <No Value> | <No Value> | 0 | <No Value> | <No Value> | Cyclic in operation | 1 s | None | <No Value> | None | <No Value> | FALSE | [7 empty] | 0 | TRUE | None | FALSE
AZO_valve_1OxI_O123_1_Hand | I/O\Hand | Steuerung_1 | <No Value> | Bool | 2 | Binary | Absolute access | %DB1220.DBX6602.6 | FALSE | <No Value> | <No Value> | 0 | <No Value> | <No Value> | Cyclic in operation | 1 s | None | <No Value> | None | <No Value> | FALSE | [7 empty] | 0 | TRUE | None | FALSE
AZO_valve_1OxI_O123_2_Hand | I/O\Hand | Steuerung_1 | <No Value> | Bool | 2 | Binary | Absolute access | %DB1220.DBX6652.6 | FALSE | <No Value> | <No Value> | 0 | <No Value> | <No Value> | Cyclic in operation | 1 s | None | <No Value> | None | <No Value> | FALSE | [7 empty] | 0 | TRUE | None | FALSE
AZO_valve_1OxI_O123_3_Hand | I/O\Hand | Steuerung_1 | <No Value> | Bool | 2 | Binary | Absolute access | %DB1220.DBX6702.6 | FALSE | <No Value> | <No Value> | 0 | <No Value> | <No Value> | Cyclic in operation | 1 s | None | <No Value> | None | <No Value> | FALSE | [7 empty] | 0 | TRUE | None | FALSE
AZO_valve_1OxI_O123_4_Hand | I/O\Hand | Steuerung_1 | <No Value> | Bool | 2 | Binary | Absolute access | %DB1220.DBX6752.6 | FALSE | <No Value> | <No Value> | 0 | <No Value> | <No Value> | Cyclic in operation | 1 s | None | <No Value> | None | <No Value> | FALSE | [7 empty] | 0 | TRUE | None | FALSE
AZO_valve_1OxI_O124_3_Hand | I/O\Hand | Steuerung_1 | <No Value> | Bool | 2 | Binary | Absolute access | %DB1229.DBX6802.6 | FALSE | <No Value> | <No Value> | 0 | <No Value> | <No Value> | Cyclic in operation | 1 s | None | <No Value> | None | <No Value> | FALSE | [7 empty] | 0 | TRUE | None | FALSE
AZO_valve_1OxI_O124_4_Hand | I/O\Hand | Steuerung_1 | <No Value> | Bool | 2 | Binary | Absolute access | %DB1229.DBX6852.6 | FALSE | <No Value> | <No Value> | 0 | <No Value> | <No Value> | Cyclic in operation | 1 s | None | <No Value> | None | <No Value> | FALSE | [7 empty] | 0 | TRUE | None | FALSE
AZO_valve_1OxI_O124_5_Hand | I/O\Hand | Steuerung_1 | <No Value> | Bool | 2 | Binary | Absolute access | %DB1229.DBX6902.6 | FALSE | <No Value> | <No Value> | 0 | <No Value> | <No Value> | Cyclic in operation | 1 s | None | <No Value> | None | <No Value> | FALSE | [7 empty] | 0 | TRUE | None | FALSE
AZO_valve_1OxI_O124_6_Hand | I/O\Hand | Steuerung_1 | <No Value> | Bool | 2 | Binary | Absolute access | %DB1229.DBX6952.6 | FALSE | <No Value> | <No Value> | 0 | <No Value> | <No Value> | Cyclic in operation | 1 s | None | <No Value> | None | <No Value> | FALSE | [7 empty] | 0 | TRUE | None | FALSE
AZO_valve_1OxI_O125_5_Hand | I/O\Hand | Steuerung_1 | <No Value> | Bool | 2 | Binary | Absolute access | %DB1224.DBX7002.6 | FALSE | <No Value> | <No Value> | 0 | <No Value> | <No Value> | Cyclic in operation | 1 s | None | <No Value> | None | <No Value> | FALSE | [7 empty] | 0 | TRUE | None | FALSE
AZO_valve_1OxI_O125_6_Hand | I/O\Hand | Steuerung_1 | <No Value> | Bool | 2 | Binary | Absolute access | %DB1224.DBX7052.6 | FALSE | <No Value> | <No Value> | 0 | <No Value> | <No Value> | Cyclic in operation | 1 s | None | <No Value> | None | <No Value> | FALSE | [7 empty] | 0 | TRUE | None | FALSE
AZO_valve_1OxI_O125_7_Hand | I/O\Hand | Steuerung_1 | <No Value> | Bool | 2 | Binary | Absolute access | %DB1224.DBX7102.6 | FALSE | <No Value> | <No Value> | 0 | <No Value> | <No Value> | Cyclic in operation | 1 s | None | <No Value> | None | <No Value> | FALSE | [7 empty] | 0 | TRUE | None | FALSE
AZO_valve_1OxI_O126_0_Hand | I/O\Hand | Steuerung_1 | <No Value> | Bool | 2 | Binary | Absolute access | %DB1224.DBX7152.6 | FALSE | <No Value> | <No Value> | 0 | <No Value> | <No Value> | Cyclic in operation | 1 s | None | <No Value> | None | <No Value> | FALSE | [7 empty] | 0 | TRUE | None | FALSE
AZO_valve_1OxI_O127_0_Hand | I/O\Hand | Steuerung_1 | <No Value> | Bool | 2 | Binary | Absolute access | %DB1106.DBX7202.6 | FALSE | <No Value> | <No Value> | 0 | <No Value> | <No Value> | Cyclic in operation | 1 s | None | <No Value> | None | <No Value> | FALSE | [7 empty] | 0 | TRUE | None | FALSE
AZO_valve_1OxI_O127_1_Hand | I/O\Hand | Steuerung_1 | <No Value> | Bool | 2 | Binary | Absolute access | %DB1106.DBX7252.6 | FALSE | <No Value> | <No Value> | 0 | <No Value> | <No Value> | Cyclic in operation | 1 s | None | <No Value> | None | <No Value> | FALSE | [7 empty] | 0 | TRUE | None | FALSE
AZO_valve_1OxI_O127_2_Hand | I/O\Hand | Steuerung_1 | <No Value> | Bool | 2 | Binary | Absolute access | %DB1106.DBX7302.6 | FALSE | <No Value> | <No Value> | 0 | <No Value> | <No Value> | Cyclic in operation | 1 s | None | <No Value> | None | <No Value> | FALSE | [7 empty] | 0 | TRUE | None | FALSE
AZO_valve_1OxI_O128_0_Hand | I/O\Hand | Steuerung_1 | <No Value> | Bool | 2 | Binary | Absolute access | %DB1520.DBX7352.6 | FALSE | <No Value> | <No Value> | 0 | <No Value> | <No Value> | Cyclic in operation | 1 s | None | <No Value> | None | <No Value> | FALSE | [7 empty] | 0 | TRUE | None | FALSE
AZO_valve_1OxI_O128_1_Hand | I/O\Hand | Steuerung_1 | <No Value> | Bool | 2 | Binary | Absolute access | %DB1520.DBX7402.6 | FALSE | <No Value> | <No Value> | 0 | <No Value> | <No Value> | Cyclic in operation | 1 s | None | <No Value> | None | <No Value> | FALSE | [7 empty] | 0 | TRUE | None | FALSE
AZO_valve_1OxI_O128_2_Hand | I/O\Hand | Steuerung_1 | <No Value> | Bool | 2 | Binary | Absolute access | %DB1520.DBX7452.6 | FALSE | <No Value> | <No Value> | 0 | <No Value> | <No Value> | Cyclic in operation | 1 s | None | <No Value> | None | <No Value> | FALSE | [7 empty] | 0 | TRUE | None | FALSE
AZO_valve_1OxI_O128_3_Hand | I/O\Hand | Steuerung_1 | <No Value> | Bool | 2 | Binary | Absolute access | %DB1520.DBX7502.6 | FALSE | <No Value> | <No Value> | 0 | <No Value> | <No Value> | Cyclic in operation | 1 s | None | <No Value> | None | <No Value> | FALSE | [7 empty] | 0 | TRUE | None | FALSE
AZO_valve_1OxI_O128_4_Hand | I/O\Hand | Steuerung_1 | <No Value> | Bool | 2 | Binary | Absolute access | %DB1520.DBX7552.6 | FALSE | <No Value> | <No Value> | 0 | <No Value> | <No Value> | Cyclic in operation | 1 s | None | <No Value> | None | <No Value> | FALSE | [7 empty] | 0 | TRUE | None | FALSE
AZO_valve_1OxI_O128_5_Hand | I/O\Hand | Steuerung_1 | <No Value> | Bool | 2 | Binary | Absolute access | %DB1520.DBX7602.6 | FALSE | <No Value> | <No Value> | 0 | <No Value> | <No Value> | Cyclic in operation | 1 s | None | <No Value> | None | <No Value> | FALSE | [7 empty] | 0 | TRUE | None | FALSE
AZO_valve_2O2I_O21_0_Hand | I/O\Hand | Steuerung_1 | <No Value> | Bool | 2 | Binary | Absolute access | %DB1001.DBX3.1 | FALSE | <No Value> | <No Value> | 0 | <No Value> | <No Value> | Cyclic in operation | 1 s | None | <No Value> | None | <No Value> | FALSE | [7 empty] | 0 | TRUE | None | FALSE
AZO_valve_2O2I_O21_2_Hand | I/O\Hand | Steuerung_1 | <No Value> | Bool | 2 | Binary | Absolute access | %DB1001.DBX53.1 | FALSE | <No Value> | <No Value> | 0 | <No Value> | <No Value> | Cyclic in operation | 1 s | None | <No Value> | None | <No Value> | FALSE | [7 empty] | 0 | TRUE | None | FALSE
AZO_valve_2O2I_O21_4_Hand | I/O\Hand | Steuerung_1 | <No Value> | Bool | 2 | Binary | Absolute access | %DB1002.DBX103.1 | FALSE | <No Value> | <No Value> | 0 | <No Value> | <No Value> | Cyclic in operation | 1 s | None | <No Value> | None | <No Value> | FALSE | [7 empty] | 0 | TRUE | None | FALSE
AZO_valve_2O2I_O21_6_Hand | I/O\Hand | Steuerung_1 | <No Value> | Bool | 2 | Binary | Absolute access | %DB1002.DBX153.1 | FALSE | <No Value> | <No Value> | 0 | <No Value> | <No Value> | Cyclic in operation | 1 s | None | <No Value> | None | <No Value> | FALSE | [7 empty] | 0 | TRUE | None | FALSE
AZO_valve_2O2I_O22_0_Hand | I/O\Hand | Steuerung_1 | <No Value> | Bool | 2 | Binary | Absolute access | %DB1003.DBX203.1 | FALSE | <No Value> | <No Value> | 0 | <No Value> | <No Value> | Cyclic in operation | 1 s | None | <No Value> | None | <No Value> | FALSE | [7 empty] | 0 | TRUE | None | FALSE
AZO_valve_2O2I_O22_2_Hand | I/O\Hand | Steuerung_1 | <No Value> | Bool | 2 | Binary | Absolute access | %DB1003.DBX253.1 | FALSE | <No Value> | <No Value> | 0 | <No Value> | <No Value> | Cyclic in operation | 1 s | None | <No Value> | None | <No Value> | FALSE | [7 empty] | 0 | TRUE | None | FALSE
AZO_valve_2O2I_O107_0_Hand | I/O\Hand | Steuerung_1 | <No Value> | Bool | 2 | Binary | Absolute access | %DB2012.DBX303.1 | FALSE | <No Value> | <No Value> | 0 | <No Value> | <No Value> | Cyclic in operation | 1 s | None | <No Value> | None | <No Value> | FALSE | [7 empty] | 0 | TRUE | None | FALSE
AZO_valve_2O2I_O107_2_Hand | I/O\Hand | Steuerung_1 | <No Value> | Bool | 2 | Binary | Absolute access | %DB2011.DBX353.1 | FALSE | <No Value> | <No Value> | 0 | <No Value> | <No Value> | Cyclic in operation | 1 s | None | <No Value> | None | <No Value> | FALSE | [7 empty] | 0 | TRUE | None | FALSE
AZO_valve_2O2I_O107_4_Hand | I/O\Hand | Steuerung_1 | <No Value> | Bool | 2 | Binary | Absolute access | %DB2012.DBX403.1 | FALSE | <No Value> | <No Value> | 0 | <No Value> | <No Value> | Cyclic in operation | 1 s | None | <No Value> | None | <No Value> | FALSE | [7 empty] | 0 | TRUE | None | FALSE
AZO_valve_2O2I_O107_6_Hand | I/O\Hand | Steuerung_1 | <No Value> | Bool | 2 | Binary | Absolute access | %DB1122.DBX453.1 | FALSE | <No Value> | <No Value> | 0 | <No Value> | <No Value> | Cyclic in operation | 1 s | None | <No Value> | None | <No Value> | FALSE | [7 empty] | 0 | TRUE | None | FALSE
AZO_valve_2O2I_O108_0_Hand | I/O\Hand | Steuerung_1 | <No Value> | Bool | 2 | Binary | Absolute access | %DB2012.DBX503.1 | FALSE | <No Value> | <No Value> | 0 | <No Value> | <No Value> | Cyclic in operation | 1 s | None | <No Value> | None | <No Value> | FALSE | [7 empty] | 0 | TRUE | None | FALSE
AZO_valve_2O2I_O108_2_Hand | I/O\Hand | Steuerung_1 | <No Value> | Bool | 2 | Binary | Absolute access | %DB2012.DBX553.1 | FALSE | <No Value> | <No Value> | 0 | <No Value> | <No Value> | Cyclic in operation | 1 s | None | <No Value> | None | <No Value> | FALSE | [7 empty] | 0 | TRUE | None | FALSE
AZO_valve_2O2I_O108_4_Hand | I/O\Hand | Steuerung_1 | <No Value> | Bool | 2 | Binary | Absolute access | %DB2013.DBX603.1 | FALSE | <No Value> | <No Value> | 0 | <No Value> | <No Value> | Cyclic in operation | 1 s | None | <No Value> | None | <No Value> | FALSE | [7 empty] | 0 | TRUE | None | FALSE
AZO_valve_10O_O25_4_Hand | I/O\Hand | Steuerung_1 | <No Value> | Bool | 2 | Binary | Absolute access | %DB1011.DBX3.5 | FALSE | <No Value> | <No Value> | 0 | <No Value> | <No Value> | Cyclic in operation | 1 s | None | <No Value> | None | <No Value> | FALSE | [7 empty] | 0 | TRUE | None | FALSE
AZO_valve_10O_O30_0_Hand | I/O\Hand | Steuerung_1 | <No Value> | Bool | 2 | Binary | Absolute access | %DB1001.DBX53.5 | FALSE | <No Value> | <No Value> | 0 | <No Value> | <No Value> | Cyclic in operation | 1 s | None | <No Value> | None | <No Value> | FALSE | [7 empty] | 0 | TRUE | None | FALSE
AZO_valve_10O_O30_3_Hand | I/O\Hand | Steuerung_1 | <No Value> | Bool | 2 | Binary | Absolute access | %DB1021.DBX103.5 | FALSE | <No Value> | <No Value> | 0 | <No Value> | <No Value> | Cyclic in operation | 1 s | None | <No Value> | None | <No Value> | FALSE | [7 empty] | 0 | TRUE | None | FALSE
AZO_valve_10O_O40_0_Hand | I/O\Hand | Steuerung_1 | <No Value> | Bool | 2 | Binary | Absolute access | %DB1002.DBX153.5 | FALSE | <No Value> | <No Value> | 0 | <No Value> | <No Value> | Cyclic in operation | 1 s | None | <No Value> | None | <No Value> | FALSE | [7 empty] | 0 | TRUE | None | FALSE
AZO_valve_10O_O40_3_Hand | I/O\Hand | Steuerung_1 | <No Value> | Bool | 2 | Binary | Absolute access | %DB1022.DBX203.5 | FALSE | <No Value> | <No Value> | 0 | <No Value> | <No Value> | Cyclic in operation | 1 s | None | <No Value> | None | <No Value> | FALSE | [7 empty] | 0 | TRUE | None | FALSE
AZO_valve_10O_O50_0_Hand | I/O\Hand | Steuerung_1 | <No Value> | Bool | 2 | Binary | Absolute access | %DB1003.DBX253.5 | FALSE | <No Value> | <No Value> | 0 | <No Value> | <No Value> | Cyclic in operation | 1 s | None | <No Value> | None | <No Value> | FALSE | [7 empty] | 0 | TRUE | None | FALSE
AZO_valve_10O_O50_3_Hand | I/O\Hand | Steuerung_1 | <No Value> | Bool | 2 | Binary | Absolute access | %DB1023.DBX303.5 | FALSE | <No Value> | <No Value> | 0 | <No Value> | <No Value> | Cyclic in operation | 1 s | None | <No Value> | None | <No Value> | FALSE | [7 empty] | 0 | TRUE | None | FALSE
AZO_valve_10O_O60_0_Hand | I/O\Hand | Steuerung_1 | <No Value> | Bool | 2 | Binary | Absolute access | %DB1011.DBX353.5 | FALSE | <No Value> | <No Value> | 0 | <No Value> | <No Value> | Cyclic in operation | 1 s | None | <No Value> | None | <No Value> | FALSE | [7 empty] | 0 | TRUE | None | FALSE
AZO_valve_10O_O70_0_Hand | I/O\Hand | Steuerung_1 | <No Value> | Bool | 2 | Binary | Absolute access | %DB1051.DBX403.5 | FALSE | <No Value> | <No Value> | 0 | <No Value> | <No Value> | Cyclic in operation | 1 s | None | <No Value> | None | <No Value> | FALSE | [7 empty] | 0 | TRUE | None | FALSE
AZO_valve_10O_O71_0_Hand | I/O\Hand | Steuerung_1 | <No Value> | Bool | 2 | Binary | Absolute access | %DB1052.DBX453.5 | FALSE | <No Value> | <No Value> | 0 | <No Value> | <No Value> | Cyclic in operation | 1 s | None | <No Value> | None | <No Value> | FALSE | [7 empty] | 0 | TRUE | None | FALSE
AZO_valve_10O_O72_0_Hand | I/O\Hand | Steuerung_1 | <No Value> | Bool | 2 | Binary | Absolute access | %DB1053.DBX503.5 | FALSE | <No Value> | <No Value> | 0 | <No Value> | <No Value> | Cyclic in operation | 1 s | None | <No Value> | None | <No Value> | FALSE | [7 empty] | 0 | TRUE | None | FALSE
AZO_valve_10O_O80_0_Hand | I/O\Hand | Steuerung_1 | <No Value> | Bool | 2 | Binary | Absolute access | %DB1054.DBX553.5 | FALSE | <No Value> | <No Value> | 0 | <No Value> | <No Value> | Cyclic in operation | 1 s | None | <No Value> | None | <No Value> | FALSE | [7 empty] | 0 | TRUE | None | FALSE
AZO_valve_10O_O81_0_Hand | I/O\Hand | Steuerung_1 | <No Value> | Bool | 2 | Binary | Absolute access | %DB1055.DBX603.5 | FALSE | <No Value> | <No Value> | 0 | <No Value> | <No Value> | Cyclic in operation | 1 s | None | <No Value> | None | <No Value> | FALSE | [7 empty] | 0 | TRUE | None | FALSE
AZO_valve_10O_O82_0_Hand | I/O\Hand | Steuerung_1 | <No Value> | Bool | 2 | Binary | Absolute access | %DB1056.DBX653.5 | FALSE | <No Value> | <No Value> | 0 | <No Value> | <No Value> | Cyclic in operation | 1 s | None | <No Value> | None | <No Value> | FALSE | [7 empty] | 0 | TRUE | None | FALSE
AZO_valve_10O_O90_0_Hand | I/O\Hand | Steuerung_1 | <No Value> | Bool | 2 | Binary | Absolute access | %DB1112.DBX703.5 | FALSE | <No Value> | <No Value> | 0 | <No Value> | <No Value> | Cyclic in operation | 1 s | None | <No Value> | None | <No Value> | FALSE | [7 empty] | 0 | TRUE | None | FALSE
AZO_valve_10O_O91_2_Hand | I/O\Hand | Steuerung_1 | <No Value> | Bool | 2 | Binary | Absolute access | %DB1111.DBX753.5 | FALSE | <No Value> | <No Value> | 0 | <No Value> | <No Value> | Cyclic in operation | 1 s | None | <No Value> | None | <No Value> | FALSE | [7 empty] | 0 | TRUE | None | FALSE
AZO_valve_10O_O92_4_Hand | I/O\Hand | Steuerung_1 | <No Value> | Bool | 2 | Binary | Absolute access | %DB1110.DBX803.5 | FALSE | <No Value> | <No Value> | 0 | <No Value> | <No Value> | Cyclic in operation | 1 s | None | <No Value> | None | <No Value> | FALSE | [7 empty] | 0 | TRUE | None | FALSE
AZO_valve_10O_O93_6_Hand | I/O\Hand | Steuerung_1 | <No Value> | Bool | 2 | Binary | Absolute access | %DB1119.DBX853.5 | FALSE | <No Value> | <No Value> | 0 | <No Value> | <No Value> | Cyclic in operation | 1 s | None | <No Value> | None | <No Value> | FALSE | [7 empty] | 0 | TRUE | None | FALSE
AZO_valve_10O_O95_0_Hand | I/O\Hand | Steuerung_1 | <No Value> | Bool | 2 | Binary | Absolute access | %DB1114.DBX903.5 | FALSE | <No Value> | <No Value> | 0 | <No Value> | <No Value> | Cyclic in operation | 1 s | None | <No Value> | None | <No Value> | FALSE | [7 empty] | 0 | TRUE | None | FALSE
AZO_valve_10O_O99_0_Hand | I/O\Hand | Steuerung_1 | <No Value> | Bool | 2 | Binary | Absolute access | %DB1112.DBX953.5 | FALSE | <No Value> | <No Value> | 0 | <No Value> | <No Value> | Cyclic in operation | 1 s | None | <No Value> | None | <No Value> | FALSE | [7 empty] | 0 | TRUE | None | FALSE
AZO_valve_10O_O99_1_Hand | I/O\Hand | Steuerung_1 | <No Value> | Bool | 2 | Binary | Absolute access | %DB1111.DBX1003.5 | FALSE | <No Value> | <No Value> | 0 | <No Value> | <No Value> | Cyclic in operation | 1 s | None | <No Value> | None | <No Value> | FALSE | [7 empty] | 0 | TRUE | None | FALSE
AZO_valve_10O_O99_2_Hand | I/O\Hand | Steuerung_1 | <No Value> | Bool | 2 | Binary | Absolute access | %DB1110.DBX1053.5 | FALSE | <No Value> | <No Value> | 0 | <No Value> | <No Value> | Cyclic in operation | 1 s | None | <No Value> | None | <No Value> | FALSE | [7 empty] | 0 | TRUE | None | FALSE
AZO_valve_10O_O99_3_Hand | I/O\Hand | Steuerung_1 | <No Value> | Bool | 2 | Binary | Absolute access | %DB1119.DBX1103.5 | FALSE | <No Value> | <No Value> | 0 | <No Value> | <No Value> | Cyclic in operation | 1 s | None | <No Value> | None | <No Value> | FALSE | [7 empty] | 0 | TRUE | None | FALSE
AZO_valve_10O_O99_4_Hand | I/O\Hand | Steuerung_1 | <No Value> | Bool | 2 | Binary | Absolute access | %DB1114.DBX1153.5 | FALSE | <No Value> | <No Value> | 0 | <No Value> | <No Value> | Cyclic in operation | 1 s | None | <No Value> | None | <No Value> | FALSE | [7 empty] | 0 | TRUE | None | FALSE
AZO_valve_10O_O100_0_Hand | I/O\Hand | Steuerung_1 | <No Value> | Bool | 2 | Binary | Absolute access | %DB1122.DBX1203.5 | FALSE | <No Value> | <No Value> | 0 | <No Value> | <No Value> | Cyclic in operation | 1 s | None | <No Value> | None | <No Value> | FALSE | [7 empty] | 0 | TRUE | None | FALSE
AZO_valve_10O_O101_2_Hand | I/O\Hand | Steuerung_1 | <No Value> | Bool | 2 | Binary | Absolute access | %DB1121.DBX1253.5 | FALSE | <No Value> | <No Value> | 0 | <No Value> | <No Value> | Cyclic in operation | 1 s | None | <No Value> | None | <No Value> | FALSE | [7 empty] | 0 | TRUE | None | FALSE
AZO_valve_10O_O102_4_Hand | I/O\Hand | Steuerung_1 | <No Value> | Bool | 2 | Binary | Absolute access | %DB1120.DBX1303.5 | FALSE | <No Value> | <No Value> | 0 | <No Value> | <No Value> | Cyclic in operation | 1 s | None | <No Value> | None | <No Value> | FALSE | [7 empty] | 0 | TRUE | None | FALSE
AZO_valve_10O_O103_6_Hand | I/O\Hand | Steuerung_1 | <No Value> | Bool | 2 | Binary | Absolute access | %DB1129.DBX1353.5 | FALSE | <No Value> | <No Value> | 0 | <No Value> | <No Value> | Cyclic in operation | 1 s | None | <No Value> | None | <No Value> | FALSE | [7 empty] | 0 | TRUE | None | FALSE
AZO_valve_10O_O105_0_Hand | I/O\Hand | Steuerung_1 | <No Value> | Bool | 2 | Binary | Absolute access | %DB1124.DBX1403.5 | FALSE | <No Value> | <No Value> | 0 | <No Value> | <No Value> | Cyclic in operation | 1 s | None | <No Value> | None | <No Value> | FALSE | [7 empty] | 0 | TRUE | None | FALSE
AZO_valve_10O_O109_0_Hand | I/O\Hand | Steuerung_1 | <No Value> | Bool | 2 | Binary | Absolute access | %DB1122.DBX1453.5 | FALSE | <No Value> | <No Value> | 0 | <No Value> | <No Value> | Cyclic in operation | 1 s | None | <No Value> | None | <No Value> | FALSE | [7 empty] | 0 | TRUE | None | FALSE
AZO_valve_10O_O109_1_Hand | I/O\Hand | Steuerung_1 | <No Value> | Bool | 2 | Binary | Absolute access | %DB1121.DBX1503.5 | FALSE | <No Value> | <No Value> | 0 | <No Value> | <No Value> | Cyclic in operation | 1 s | None | <No Value> | None | <No Value> | FALSE | [7 empty] | 0 | TRUE | None | FALSE
AZO_valve_10O_O109_2_Hand | I/O\Hand | Steuerung_1 | <No Value> | Bool | 2 | Binary | Absolute access | %DB1120.DBX1553.5 | FALSE | <No Value> | <No Value> | 0 | <No Value> | <No Value> | Cyclic in operation | 1 s | None | <No Value> | None | <No Value> | FALSE | [7 empty] | 0 | TRUE | None | FALSE
AZO_valve_10O_O109_3_Hand | I/O\Hand | Steuerung_1 | <No Value> | Bool | 2 | Binary | Absolute access | %DB1129.DBX1603.5 | FALSE | <No Value> | <No Value> | 0 | <No Value> | <No Value> | Cyclic in operation | 1 s | None | <No Value> | None | <No Value> | FALSE | [7 empty] | 0 | TRUE | None | FALSE
AZO_valve_10O_O109_4_Hand | I/O\Hand | Steuerung_1 | <No Value> | Bool | 2 | Binary | Absolute access | %DB1124.DBX1653.5 | FALSE | <No Value> | <No Value> | 0 | <No Value> | <No Value> | Cyclic in operation | 1 s | None | <No Value> | None | <No Value> | FALSE | [7 empty] | 0 | TRUE | None | FALSE
AZO_valve_10O_O110_0_Hand | I/O\Hand | Steuerung_1 | <No Value> | Bool | 2 | Binary | Absolute access | %DB1212.DBX1703.5 | FALSE | <No Value> | <No Value> | 0 | <No Value> | <No Value> | Cyclic in operation | 1 s | None | <No Value> | None | <No Value> | FALSE | [7 empty] | 0 | TRUE | None | FALSE
AZO_valve_10O_O111_2_Hand | I/O\Hand | Steuerung_1 | <No Value> | Bool | 2 | Binary | Absolute access | %DB1211.DBX1753.5 | FALSE | <No Value> | <No Value> | 0 | <No Value> | <No Value> | Cyclic in operation | 1 s | None | <No Value> | None | <No Value> | FALSE | [7 empty] | 0 | TRUE | None | FALSE
AZO_valve_10O_O112_4_Hand | I/O\Hand | Steuerung_1 | <No Value> | Bool | 2 | Binary | Absolute access | %DB1210.DBX1803.5 | FALSE | <No Value> | <No Value> | 0 | <No Value> | <No Value> | Cyclic in operation | 1 s | None | <No Value> | None | <No Value> | FALSE | [7 empty] | 0 | TRUE | None | FALSE
AZO_valve_10O_O113_6_Hand | I/O\Hand | Steuerung_1 | <No Value> | Bool | 2 | Binary | Absolute access | %DB1219.DBX1853.5 | FALSE | <No Value> | <No Value> | 0 | <No Value> | <No Value> | Cyclic in operation | 1 s | None | <No Value> | None | <No Value> | FALSE | [7 empty] | 0 | TRUE | None | FALSE
AZO_valve_10O_O115_0_Hand | I/O\Hand | Steuerung_1 | <No Value> | Bool | 2 | Binary | Absolute access | %DB1214.DBX1903.5 | FALSE | <No Value> | <No Value> | 0 | <No Value> | <No Value> | Cyclic in operation | 1 s | None | <No Value> | None | <No Value> | FALSE | [7 empty] | 0 | TRUE | None | FALSE
AZO_valve_10O_O119_0_Hand | I/O\Hand | Steuerung_1 | <No Value> | Bool | 2 | Binary | Absolute access | %DB1212.DBX1953.5 | FALSE | <No Value> | <No Value> | 0 | <No Value> | <No Value> | Cyclic in operation | 1 s | None | <No Value> | None | <No Value> | FALSE | [7 empty] | 0 | TRUE | None | FALSE
AZO_valve_10O_O119_1_Hand | I/O\Hand | Steuerung_1 | <No Value> | Bool | 2 | Binary | Absolute access | %DB1211.DBX2003.5 | FALSE | <No Value> | <No Value> | 0 | <No Value> | <No Value> | Cyclic in operation | 1 s | None | <No Value> | None | <No Value> | FALSE | [7 empty] | 0 | TRUE | None | FALSE
AZO_valve_10O_O119_2_Hand | I/O\Hand | Steuerung_1 | <No Value> | Bool | 2 | Binary | Absolute access | %DB1210.DBX2053.5 | FALSE | <No Value> | <No Value> | 0 | <No Value> | <No Value> | Cyclic in operation | 1 s | None | <No Value> | None | <No Value> | FALSE | [7 empty] | 0 | TRUE | None | FALSE
AZO_valve_10O_O119_3_Hand | I/O\Hand | Steuerung_1 | <No Value> | Bool | 2 | Binary | Absolute access | %DB1219.DBX2103.5 | FALSE | <No Value> | <No Value> | 0 | <No Value> | <No Value> | Cyclic in operation | 1 s | None | <No Value> | None | <No Value> | FALSE | [7 empty] | 0 | TRUE | None | FALSE
AZO_valve_10O_O119_4_Hand | I/O\Hand | Steuerung_1 | <No Value> | Bool | 2 | Binary | Absolute access | %DB1214.DBX2153.5 | FALSE | <No Value> | <No Value> | 0 | <No Value> | <No Value> | Cyclic in operation | 1 s | None | <No Value> | None | <No Value> | FALSE | [7 empty] | 0 | TRUE | None | FALSE
AZO_valve_10O_O120_0_Hand | I/O\Hand | Steuerung_1 | <No Value> | Bool | 2 | Binary | Absolute access | %DB1222.DBX2203.5 | FALSE | <No Value> | <No Value> | 0 | <No Value> | <No Value> | Cyclic in operation | 1 s | None | <No Value> | None | <No Value> | FALSE | [7 empty] | 0 | TRUE | None | FALSE
AZO_valve_10O_O121_2_Hand | I/O\Hand | Steuerung_1 | <No Value> | Bool | 2 | Binary | Absolute access | %DB1221.DBX2253.5 | FALSE | <No Value> | <No Value> | 0 | <No Value> | <No Value> | Cyclic in operation | 1 s | None | <No Value> | None | <No Value> | FALSE | [7 empty] | 0 | TRUE | None | FALSE
AZO_valve_10O_O122_4_Hand | I/O\Hand | Steuerung_1 | <No Value> | Bool | 2 | Binary | Absolute access | %DB1220.DBX2303.5 | FALSE | <No Value> | <No Value> | 0 | <No Value> | <No Value> | Cyclic in operation | 1 s | None | <No Value> | None | <No Value> | FALSE | [7 empty] | 0 | TRUE | None | FALSE
AZO_valve_10O_O123_6_Hand | I/O\Hand | Steuerung_1 | <No Value> | Bool | 2 | Binary | Absolute access | %DB1229.DBX2353.5 | FALSE | <No Value> | <No Value> | 0 | <No Value> | <No Value> | Cyclic in operation | 1 s | None | <No Value> | None | <No Value> | FALSE | [7 empty] | 0 | TRUE | None | FALSE
AZO_valve_10O_O125_0_Hand | I/O\Hand | Steuerung_1 | <No Value> | Bool | 2 | Binary | Absolute access | %DB1224.DBX2403.5 | FALSE | <No Value> | <No Value> | 0 | <No Value> | <No Value> | Cyclic in operation | 1 s | None | <No Value> | None | <No Value> | FALSE | [7 empty] | 0 | TRUE | None | FALSE
AZO_valve_10O_O126_2_Hand | I/O\Hand | Steuerung_1 | <No Value> | Bool | 2 | Binary | Absolute access | %DB1106.DBX2453.5 | FALSE | <No Value> | <No Value> | 0 | <No Value> | <No Value> | Cyclic in operation | 1 s | None | <No Value> | None | <No Value> | FALSE | [7 empty] | 0 | TRUE | None | FALSE
AZO_valve_10O_O132_0_Hand | I/O\Hand | Steuerung_1 | <No Value> | Bool | 2 | Binary | Absolute access | %DB1222.DBX2503.5 | FALSE | <No Value> | <No Value> | 0 | <No Value> | <No Value> | Cyclic in operation | 1 s | None | <No Value> | None | <No Value> | FALSE | [7 empty] | 0 | TRUE | None | FALSE
AZO_valve_10O_O132_1_Hand | I/O\Hand | Steuerung_1 | <No Value> | Bool | 2 | Binary | Absolute access | %DB1221.DBX2553.5 | FALSE | <No Value> | <No Value> | 0 | <No Value> | <No Value> | Cyclic in operation | 1 s | None | <No Value> | None | <No Value> | FALSE | [7 empty] | 0 | TRUE | None | FALSE
AZO_valve_10O_O132_2_Hand | I/O\Hand | Steuerung_1 | <No Value> | Bool | 2 | Binary | Absolute access | %DB1220.DBX2603.5 | FALSE | <No Value> | <No Value> | 0 | <No Value> | <No Value> | Cyclic in operation | 1 s | None | <No Value> | None | <No Value> | FALSE | [7 empty] | 0 | TRUE | None | FALSE
AZO_valve_10O_O132_3_Hand | I/O\Hand | Steuerung_1 | <No Value> | Bool | 2 | Binary | Absolute access | %DB1229.DBX2653.5 | FALSE | <No Value> | <No Value> | 0 | <No Value> | <No Value> | Cyclic in operation | 1 s | None | <No Value> | None | <No Value> | FALSE | [7 empty] | 0 | TRUE | None | FALSE
AZO_valve_10O_O132_4_Hand | I/O\Hand | Steuerung_1 | <No Value> | Bool | 2 | Binary | Absolute access | %DB1224.DBX2703.5 | FALSE | <No Value> | <No Value> | 0 | <No Value> | <No Value> | Cyclic in operation | 1 s | None | <No Value> | None | <No Value> | FALSE | [7 empty] | 0 | TRUE | None | FALSE
AZO_valve_10O_O132_5_Hand | I/O\Hand | Steuerung_1 | <No Value> | Bool | 2 | Binary | Absolute access | %DB1106.DBX2753.5 | FALSE | <No Value> | <No Value> | 0 | <No Value> | <No Value> | Cyclic in operation | 1 s | None | <No Value> | None | <No Value> | FALSE | [7 empty] | 0 | TRUE | None | FALSE

## Multiplexing
HMI Tag name | Multiplex Tag | Index